## Guidance
Open Suction Catheters - April 2023
Please note: there is currently a supply disruption impacting this product area. Alternatives are often indirect alternatives and have been suggested to support continual patient care. Due to the clinical nature of these products, we advise you to consult your own clinical experts to ensure suitability for your organisation's use of these products. This Product Matrix is to be used as a tool to support local clinical decision making and to show the range of products available within the NHS Supply Chain catalogue. Customers are advised to log into our online catalogue to view the potential alternative products listed in this guide (see link). If you have any questions, please contact your local NHS Supply Chain Customer Services Advisor (see link). For product support contact your local NHS Supply Chain Clinical Nurse Advisor (see link).
https://my.supplychain.nhs.uk/catalogue
https://www.supplychain.nhs.uk/customer-service/customer-service-teams/
https://www.supplychain.nhs.uk/contact/clinical-nurse-advisors/
Guidance for using the Open Suction Catheter Product Matrix
Read the 'Instructions for Use' for any new products and adhere to the usage. The Product Matrix details the key specifications of Suction Catheters. These can be filtered to show alternative products that can be considered. The key consideration to be considered are the Gauge (size) and Length (cm) of the catheter and ensure this is suitable for the patient it is to be used on. To ensure continuity and accessibility of products, NHS Supply Chain are temporarily moving additional products into the NHS Supply Chain distribution centres. For some of these products, new NPCs are to be temporarily created to allow continued ordering of these goods. These will revert to their original non-stock NPC once this disruption has been resolved. This is reflected in the key and colour coding on the product matrix.

## Product Comparison Matrix
Open Suction Catheters
Product Comparison Matrix
Issued | 2023-06-02
Key
Impacted GBUK product. Supply may be constrained
Product temporarily moving to stock - new NPC listed
Incumbent NPCs | Supplier | Brand | MPC | Gauge (fg) | Length (cm) | Graduated | Graduation Details | Graduation Intervals | Vacuum Control | Side Eyes | Unit of Issue | Stocked/Non-Stock | DEHP Free | Comments
FSQ587 | GBUK Healthcare | Tender Tip | TT01-05-035 | 5 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ588 | GBUK Healthcare | Tender Tip | TT01-06-035 | 6 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by suppy disruption
FSQ568 | GBUK Healthcare | Tender Tip | TT01-06-050 | 6 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by suppy disruption
FSQ589 | GBUK Healthcare | Tender Tip | TT01-07-035 | 7 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by suppy disruption
FSQ570 | GBUK Healthcare | Tender Tip | TT01-07-050 | 7 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ591 | GBUK Healthcare | Tender Tip | TT01-08-035 | 8 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ572 | GBUK Healthcare | Tender Tip | TT01-08-050 | 8 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ593 | GBUK Healthcare | Tender Tip | TT01-10-035 | 10 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ575 | GBUK Healthcare | Tender Tip | TT01-10-050 | 10 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ580 | GBUK Healthcare | Tender Tip | TT01-10-060 | 10 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ1144 | GBUK Healthcare | Tender Tip | TT01-12-050 | 12 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Stocked | Unknown | Product impacted by suppy disruption
FSQ576 | GBUK Healthcare | Tender Tip | TT01-12-060 | 12 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ578 | GBUK Healthcare | Tender Tip | TT01-14-060 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
All NPCs | Supplier | Brand | MPC | Gauge (fg) | Length (cm) | Graduated | Graduation Details | Graduation Intervals | Vacuum Control | Side Eyes | Unit of Issue | Stocked/Non-Stock | DEHP Free | Comments
FSQ243 | Vygon | Vygon | 0535.04 | 4 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes | -
FSQ191 | Vygon | Vygon | 0535.05 | 5 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes | -
FSQ85292 | Pennine Healthcare | Pennine | OSC-1205/35 | 5 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Stock due in Mid-June
FSQ2660 | Pennine Healthcare | Pennine | OSC-1205/35 | 5 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ587 | GBUK Healthcare | Tender Tip | TT01-05-035 | 5 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ1462 | Westbourne Medical | Trach-Clear Open | TC01-05-035 | 5 | 35 | Yes | graduations from 5cm to 25cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Code suspended until stock arrives
FSQ3010 | Pennine Healthcare | Pennine | OSC-1505/48 | 5 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3179 | Pennine Healthcare | Pennine | OSC-1205/48 | 5 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3200 | Pennine Healthcare | Pennine | SC-1105/48 | 5 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ993 | GBUK Healthcare | Tender Tip | TT01-05-050 | 5 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2799 | Pennine Healthcare | Pennine | OSC-1505/60 | 5 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3102 | Pennine Healthcare | Pennine | OSC-1205/60 | 5 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3180 | Pennine Healthcare | Pennine | SC-1105/60 | 5 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSY003 | Vygon | Vygon | 0535.06 | 6 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes | -
FSQ1463 | Westbourne Medical | Trach-Clear Open | TC01-06-035 | 6 | 35 | Yes | graduations from 5cm to 25cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Code suspended until stock arrives
FSQ85288 | Pennine Healthcare | Pennine | OSC-1206/35 | 6 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ2670 | Pennine Healthcare | Pennine | OSC-1206/35 | 6 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ588 | GBUK Healthcare | Tender Tip | TT01-06-035 | 6 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by suppy disruption
FSQ1262 | Proact Medical | PRO-Breathe | PB-372006 | 6 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ1269 | Proact Medical | PRO-Breathe | PB-374006 | 6 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ1175 | Pennine Healthcare | Pennine Healthcare | OSC-1206/48 | 6 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3156 | Pennine Healthcare | Pennine | OSC-1506/48 | 6 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3161 | Pennine Healthcare | Pennine | AESC100648 | 6 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3178 | Pennine Healthcare | Pennine | SC-1106/48 | 6 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ1164 | GBUK Healthcare | Bicakcilar | 191-0611-1 | 6 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2693 | GenX Medicare | GenCath | GXM-786OSCO06 | 6 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ85285 | GenX Medicare | GenCath | GXM-786OSCC06 | 6 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ3034 | GenX Medicare | GenCath | GXM-786OSCC06 | 6 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ568 | GBUK Healthcare | Tender Tip | TT01-06-050 | 6 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by suppy disruption
FSQ2953 | Pennine Healthcare | Pennine | OSC-1506/53 | 6 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3185 | Pennine Healthcare | Pennine | AESC100653 | 6 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ2773 | Pennine Healthcare | Pennine | OSC-1206/60 | 6 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3158 | Pennine Healthcare | Pennine | SC-1106/60 | 6 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3192 | Pennine Healthcare | Pennine | OSC-1506/60 | 6 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ494 | Vygon | Vygon | 0535.07 | 7 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes | -
FSQ1464 | Westbourne Medical | Trach-Clear Open | TC01-07-035 | 7 | 35 | Yes | graduations from 5cm to 25cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Code suspended until stock arrives
FSQ2694 | Richardson Healthcare | RHL | 320307 | 7 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ85293 | Pennine Healthcare | Pennine | OSC-1207/35 | 7 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Stock due in Mid-June
FSQ2850 | Pennine Healthcare | Pennine | OSC-1207/35 | 7 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
NPC TBC | Richardson Healthcare | RHL | 310307 | 7 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Due into stock within 2 to 3 weeks
FSQ2714 | Richardson Healthcare | RHL | 310307 | 7 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2881 | Richardson Healthcare | RHL | 301307 | 7 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ3035 | Richardson Healthcare | RHL | 300307 | 7 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ589 | GBUK Healthcare | Tender Tip | TT01-07-035 | 7 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by suppy disruption
FSQ1176 | Pennine Healthcare | Pennine Healthcare | OSC-1207/48 | 7 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ1469 | Westbourne Medical | Trach-Clear Open | TC01-07-050 | 7 | 50 | Yes | graduations from 5cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | In stock and under demand management
FSQ2717 | Richardson Healthcare | RHL | 301507 | 7 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Due into stock within a week
FSQ2783 | Richardson Healthcare | RHL | 300507 | 7 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Due into stock within a week
FSQ2823 | Richardson Healthcare | RHL | 310507 | 7 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2880 | Richardson Healthcare | RHL | 320507 | 7 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ570 | GBUK Healthcare | Tender Tip | TT01-07-050 | 7 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ2796 | Richardson Healthcare | RHL | 310607 | 7 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ2873 | Richardson Healthcare | RHL | 301607 | 7 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ2930 | Richardson Healthcare | RHL | 300607 | 7 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ2970 | Richardson Healthcare | RHL | 320607 | 7 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ3044 | Pennine Healthcare | Pennine | OSC-1207/60 | 7 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ192 | Vygon | Vygon | 0535.08 | 8 | 29 | Yes |  |  | Yes | 2 | 50 | Stocked | Yes | -
FSQ85289 | Pennine Healthcare | Pennine | OSC-1208/35 | 8 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ2657 | Pennine Healthcare | Pennine | OSC-1208/35 | 8 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ2679 | Richardson Healthcare | RHL | 320308 | 8 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ2715 | Richardson Healthcare | RHL | 310308 | 8 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2967 | Richardson Healthcare | RHL | 301308 | 8 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ2973 | Richardson Healthcare | RHL | 300308 | 8 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ591 | GBUK Healthcare | Tender Tip | TT01-08-035 | 8 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ1263 | Proact Medical | PRO-Breathe | PB-372008 | 8 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ1270 | Proact Medical | PRO-Breathe | PB-374008 | 8 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ1177 | Pennine Healthcare | Pennine Healthcare | OSC-1208/48 | 8 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3182 | Pennine Healthcare | Pennine | SC-1108/48 | 8 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3203 | Pennine Healthcare | Pennine | OSC-1508/48 | 8 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3204 | Pennine Healthcare | Pennine | AESC100848 | 8 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ1165 | GBUK Healthcare | Bicakcilar | 191-0811-1 | 8 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2727 | Richardson Healthcare | RHL | 301508 | 8 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Intermittent supply owing to an increase in demand
FSQ2728 | GenX Medicare | GenCath | GXM-786OSCO08 | 8 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2888 | Richardson Healthcare | RHL | 300508 | 8 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ85283 | GenX Medicare | GenCath | GXM-786OSCC08 | 8 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | In stock and under demand management
FSQ2929 | GenX Medicare | GenCath | GXM-786OSCC08 | 8 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ3042 | Richardson Healthcare | RHL | 320508 | 8 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Intermittent supply owing to an increase in demand
FSQ3105 | Richardson Healthcare | RHL | 310508 | 8 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Intermittent supply owing to an increase in demand
FSQ572 | GBUK Healthcare | Tender Tip | TT01-08-050 | 8 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ3187 | Pennine Healthcare | Pennine | OSC-1508/53 | 8 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3198 | Pennine Healthcare | Pennine | AESC100853 | 8 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ2882 | Richardson Healthcare | RHL | 301608 | 8 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ2904 | Pennine Healthcare | Pennine | OSC-1208/60 | 8 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ2932 | Richardson Healthcare | RHL | 300608 | 8 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2951 | Richardson Healthcare | RHL | 320608 | 8 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ3087 | Richardson Healthcare | RHL | 310608 | 8 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3160 | Pennine Healthcare | Pennine | SC-1108/60 | 8 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3172 | Pennine Healthcare | Pennine | OSC-1508/60 | 8 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ1895 | Vygon | Vygon | 0535.10 | 10 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes | -
FSQ2741 | Richardson Healthcare | RHL | 320310 | 10 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ2785 | Richardson Healthcare | RHL | 300310 | 10 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ2948 | Richardson Healthcare | RHL | 310310 | 10 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2986 | Richardson Healthcare | RHL | 301310 | 10 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ85290 | Pennine Healthcare | Pennine | OSC-1210/35 | 10 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Stock due in Mid-June
FSQ3100 | Pennine Healthcare | Pennine | OSC-1210/35 | 10 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ593 | GBUK Healthcare | Tender Tip | TT01-10-035 | 10 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ1264 | Proact Medical | PRO-Breathe | PB-372010 | 10 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3126 | Proact Medical | PRO-Breathe | PB-374010 | 10 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ85291 | Pennine Healthcare | Pennine Healthcare | OSC-1210/48 | 10 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ1178 | Pennine Healthcare | Pennine Healthcare | OSC-1210/48TPS | 10 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ3190 | Pennine Healthcare | Pennine | SC-1110/48 | 10 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3197 | Pennine Healthcare | Pennine | AESC101048 | 10 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3202 | Pennine Healthcare | Pennine | OSC-1510/48 | 10 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ1166 | GBUK Healthcare | Bicakcilar | 191-1011-1 | 10 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2716 | Richardson Healthcare | RHL | 300510 | 10 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Intermittent supply owing to an increase in demand
FSQ2735 | Richardson Healthcare | RHL | 301510 | 10 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Intermittent supply owing to an increase in demand
FSQ2841 | Richardson Healthcare | RHL | 310510 | 10 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Intermittent supply owing to an increase in demand
FSQ2910 | Richardson Healthcare | RHL | 320510 | 10 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ85284 | GenX Medicare | GenCath | GXM-786OSCC10 | 10 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | In stock and under demand management
FSQ2931 | GenX Medicare | GenCath | GXM-786OSCC10 | 10 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ1471 | Westbourne Medical | Trach-Clear Open | TC01-10-050 | 10 | 50 | Yes | graduations from 5cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Due into stock within a week
FSQ3039 | GenX Medicare | GenCath | GXM-786OSCO10 | 10 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ575 | GBUK Healthcare | Tender Tip | TT01-10-050 | 10 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ2946 | Pennine Healthcare | Pennine | OSC-1510/53 | 10 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3163 | Pennine Healthcare | Pennine | AESC101053 | 10 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ2358 | Pennine Healthcare | Pennine Healthcare | OSC-2210/60 | 10 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | -
FSQ2641 | Pennine Healthcare | Pennine | OSC-1210/60 | 10 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ2722 | Richardson Healthcare | RHL | 301610 | 10 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Intermittent supply owing to an increase in demand
NPC TBC | Richardson Healthcare | RHL | 310610 | 10 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Due into stock within 2 to 3 weeks
FSQ2748 | Richardson Healthcare | RHL | 310610 | 10 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ2897 | Richardson Healthcare | RHL | 300610 | 10 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ2917 | Richardson Healthcare | RHL | 320610 | 10 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ3166 | Pennine Healthcare | Pennine | SC-1110/60 | 10 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3181 | Pennine Healthcare | Pennine | OSC-1512/60 | 10 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3194 | Pennine Healthcare | Pennine | OSC-1510/60 | 10 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3195 | Pennine Healthcare | Pennine | AESC101060 | 10 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ580 | GBUK Healthcare | Tender Tip | TT01-10-060 | 10 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ2894 | Richardson Healthcare | RHL | 320312 | 12 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2919 | Richardson Healthcare | RHL | 300312 | 12 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2935 | Richardson Healthcare | RHL | 301312 | 12 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2957 | Pennine Healthcare | Pennine | OSC-1212/35 | 12 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ2983 | Richardson Healthcare | RHL | 310312 | 12 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ1265 | Proact Medical | PRO-Breathe | PB-372012 | 12 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ1272 | Proact Medical | PRO-Breathe | PB-374012 | 12 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ1179 | Pennine Healthcare | Pennine Healthcare | OSC-1212/48 | 12 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3162 | Pennine Healthcare | Pennine | OSC-1512/48 | 12 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3164 | Pennine Healthcare | Pennine | AESC101248 | 12 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3183 | Pennine Healthcare | Pennine | SC-1112/48 | 12 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ1144 | GBUK Healthcare | Tender Tip | TT01-12-050 | 12 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Stocked | Unknown | Product impacted by suppy disruption
FSQ1167 | GBUK Healthcare | Bicakcilar | 191-1211-1 | 12 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ85282 | GenX Medicare | GenCath | GXM-786OSCC12 | 12 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | In stock and under demand management
FSQ2825 | GenX Medicare | GenCath | GXM-786OSCC12 | 12 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ2871 | Richardson Healthcare | RHL | 310512 | 12 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ2934 | Richardson Healthcare | RHL | 301512 | 12 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ2988 | GenX Medicare | GenCath | GXM-786OSCO12 | 12 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3029 | Richardson Healthcare | RHL | 300512 | 12 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Intermittent supply owing to an increase in demand
FSQ3092 | Richardson Healthcare | RHL | 320512 | 12 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2942 | Pennine Healthcare | Pennine | OSC-1512/53 | 12 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3176 | Pennine Healthcare | Pennine | AESC101253 | 12 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ2738 | Richardson Healthcare | RHL | 301612 | 12 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Intermittent supply owing to an increase in demand
FSQ2911 | Richardson Healthcare | RHL | 310612 | 12 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Intermittent supply owing to an increase in demand
FSQ85286 | Pennine Healthcare | Pennine | OSC-1212/60 | 12 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Stock due in Mid-June
FSQ2928 | Pennine Healthcare | Pennine | OSC-1212/60 | 12 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ1476 | Westbourne Medical | Trach-Clear Open | TC01-12-060 | 12 | 60 | Yes | graduations from 5cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Due into stock within a week
FSQ2969 | Richardson Healthcare | RHL | 300612 | 12 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ3095 | Richardson Healthcare | RHL | 320612 | 12 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3171 | Pennine Healthcare | Pennine | SC-1112/60 | 12 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3201 | Pennine Healthcare | Pennine | AESC101260 | 12 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ576 | GBUK Healthcare | Tender Tip | TT01-12-060 | 12 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ2736 | Richardson Healthcare | RHL | 300314 | 14 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2848 | Richardson Healthcare | RHL | 320314 | 14 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2913 | Richardson Healthcare | RHL | 301314 | 14 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2924 | Richardson Healthcare | RHL | 310314 | 14 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3074 | Pennine Healthcare | Pennine | OSC-1214/35 | 14 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ1266 | Proact Medical | PRO-Breathe | PB-372014 | 14 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3127 | Proact Medical | PRO-Breathe | PB-374014 | 14 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ003 | Pennine Healthcare | Pennine | OSC-1514/48 | 14 | 48 | No | - | - | Yes | 2 | 1 | Stocked | Yes | -
FSQ3169 | Pennine Healthcare | Pennine | AESC101448 | 14 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3173 | Pennine Healthcare | Pennine | OSC-1214/48 | 14 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3175 | Pennine Healthcare | Pennine | SC-1114/48 | 14 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FDR356 | Cardinal Health UK | Argyle | 01953161 | 14 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ1168 | GBUK Healthcare | Bicakcilar | 191-1411-1 | 14 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2681 | GenX Medicare | GenCath | GXM-786OSCC14 | 14 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2700 | Richardson Healthcare | RHL | 301514 | 14 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2737 | Richardson Healthcare | RHL | 300514 | 14 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2739 | Richardson Healthcare | RHL | 320514 | 14 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2950 | GenX Medicare | GenCath | GXM-786OSCO14 | 14 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3096 | Richardson Healthcare | RHL | 310514 | 14 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2865 | Pennine Healthcare | Pennine | OSC-1514/53 | 14 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3199 | Pennine Healthcare | Pennine | AESC101453 | 14 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ2643 | Richardson Healthcare | RHL | 320614 | 14 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ2733 | Richardson Healthcare | RHL | 300614 | 14 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
NPC TBC | Richardson Healthcare | RHL | 310614 | 14 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Due into stock within 2 to 3 weeks
FSQ2780 | Richardson Healthcare | RHL | 310614 | 14 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ2947 | Richardson Healthcare | RHL | 301614 | 14 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | Codes suspened due to Supplier Issues
FSQ85287 | Pennine Healthcare | Pennine | OSC-1214/60 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ3030 | Pennine Healthcare | Pennine | OSC-1214/60 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ3167 | Pennine Healthcare | Pennine | SC-1114/60 | 14 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3177 | Pennine Healthcare | Pennine | AESC101460 | 14 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3193 | Pennine Healthcare | Pennine | OSC-1514/60 | 14 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ578 | GBUK Healthcare | Tender Tip | TT01-14-060 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by suppy disruption
FSQ939 | Pennine Healthcare | Pennine | OSC-1814/60 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | -
FSQ2972 | Pennine Healthcare | Pennine | OSC-1216/35 | 16 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ1267 | Proact Medical | PRO-Breathe | PB-372016 | 16 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3128 | Proact Medical | PRO-Breathe | PB-374016 | 16 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2648 | Pennine Healthcare | Pennine | OSC-1216/48 | 16 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3165 | Pennine Healthcare | Pennine | AESC101648 | 16 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3168 | Pennine Healthcare | Pennine | OSC-1516/48 | 16 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3189 | Pennine Healthcare | Pennine | SC-1116/48 | 16 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ2889 | GenX Medicare | GenCath | GXM-786OSCC16 | 16 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2991 | GenX Medicare | GenCath | GXM-786OSCO16 | 16 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3070 | Pennine Healthcare | Pennine | OSC-1516/53 | 16 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3196 | Pennine Healthcare | Pennine | AESC101653 | 16 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ1787 | GBUK Healthcare | Tender Tip | TT01-16-060 | 16 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2757 | Pennine Healthcare | Pennine | OSC-1216/60 | 16 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3157 | Pennine Healthcare | Pennine | AESC101660 | 16 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3186 | Pennine Healthcare | Pennine | SC-1116/60 | 16 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3188 | Pennine Healthcare | Pennine | OSC-1516/60 | 16 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ940 | Pennine Healthcare | Pennine | OSC-1816/60 | 16 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | -
FSQ1268 | Proact Medical | PRO-Breathe | PB-372018 | 18 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3125 | Proact Medical | PRO-Breathe | PB-374018 | 18 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2832 | Pennine Healthcare | Pennine | OSC-1518/48 | 18 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3159 | Pennine Healthcare | Pennine | AESC101848 | 18 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3191 | Pennine Healthcare | Pennine | SC-1118/48 | 18 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ1170 | GBUK Healthcare | Bicakcilar | 191-1811-1 | 18 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2819 | GenX Medicare | GenCath | GXM-786OSCO18 | 18 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2821 | GenX Medicare | GenCath | GXM-786OSCC18 | 18 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2725 | Pennine Healthcare | Pennine | OSC-1518/53 | 18 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3184 | Pennine Healthcare | Pennine | AESC101853 | 18 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ1479 | Westbourne Medical | Trach-Clear Open | TC01-18-060 | 18 | 60 | Yes | graduations from 5cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Code suspended until stock arrives
FSQ2952 | Pennine Healthcare | Pennine | OSC-1518/60 | 18 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3170 | Pennine Healthcare | Pennine | AESC101860 | 18 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3174 | Pennine Healthcare | Pennine | SC-1118/60 | 18 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -