## Guidance
Open Suction Catheters - April 2023
Please note: there is currently a supply disruption impacting this product area. Alternatives are often indirect alternatives and have been suggested to support continual patient care. Due to the clinical nature of these products, we advise you to consult your own clinical experts to ensure suitability for your organisation's use of these products. This Product Matrix is to be used as a tool to support local clinical decision making and to show the range of products available within the NHS Supply Chain catalogue. Customers are advised to log into our online catalogue to view the potential alternative products listed in this guide (see link). If you have any questions, please contact your local NHS Supply Chain Customer Services Advisor (see link). For product support contact your local NHS Supply Chain Clinical Nurse Advisor (see link).
https://my.supplychain.nhs.uk/catalogue
https://www.supplychain.nhs.uk/customer-service/customer-service-teams/
https://www.supplychain.nhs.uk/contact/clinical-nurse-advisors/
Guidance for using the Open Suction Catheter Product Matrix
Read the 'Instructions for Use' for any new products and adhere to the usage. The Product Matrix details the key specifications of Suction Catheters. These can be filtered to show alternative products that can be considered. The key consideration to be considered are the Gauge (size) and Length (cm) of the catheter and ensure this is suitable for the patient it is to be used on. To ensure continuity and accessibility of products, NHS Supply Chain are temporarily moving additional products into the NHS Supply Chain distribution centres. For some of these products, new NPCs are to be temporarily created to allow continued ordering of these goods. These will revert to their original non-stock NPC once this disruption has been resolved. This is reflected in the key and colour coding on the product matrix.

## Stocked Alternatives
Open Suction Catheters
Product Comparison Matrix
Issued | 2023-07-07
Key
Impacted GBUK product. Supply may be constrained
Product temporarily moving to stock - new NPC listed
Incumbent NPCs | Supplier | Brand | MPC | Gauge (fg) | Length (cm) | Graduated | Graduation Details | Graduation Intervals | Vacuum Control | Side Eyes | Unit of Issue | Stocked/Non-Stock | DEHP Free | Comments
FSQ587 | GBUK Healthcare | Tender Tip | TT01-05-035 | 5 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ588 | GBUK Healthcare | Tender Tip | TT01-06-035 | 6 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by supply disruption and demand managed
FSQ568 | GBUK Healthcare | Tender Tip | TT01-06-050 | 6 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by supply disruption and demand managed
FSQ589 | GBUK Healthcare | Tender Tip | TT01-07-035 | 7 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by supply disruption and demand managed
FSQ570 | GBUK Healthcare | Tender Tip | TT01-07-050 | 7 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ591 | GBUK Healthcare | Tender Tip | TT01-08-035 | 8 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ572 | GBUK Healthcare | Tender Tip | TT01-08-050 | 8 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ593 | GBUK Healthcare | Tender Tip | TT01-10-035 | 10 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ575 | GBUK Healthcare | Tender Tip | TT01-10-050 | 10 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ580 | GBUK Healthcare | Tender Tip | TT01-10-060 | 10 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ1144 | GBUK Healthcare | Tender Tip | TT01-12-050 | 12 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ576 | GBUK Healthcare | Tender Tip | TT01-12-060 | 12 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ578 | GBUK Healthcare | Tender Tip | TT01-14-060 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
All NPCs | Supplier | Brand | MPC | Gauge (fg) | Length (cm) | Graduated | Graduation Details | Graduation Intervals | Vacuum Control | Side Eyes | Unit of Issue | Stocked/Non-Stock | DEHP Free | Comments
FSQ85292 | Pennine Healthcare | Pennine | OSC-1205/35 | 5 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ587 | GBUK Healthcare | Tender Tip | TT01-05-035 | 5 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ1462 | Westbourne Medical | Trach-Clear Open | TC01-05-035 | 5 | 35 | Yes | graduations from 5cm to 25cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ1463 | Westbourne Medical | Trach-Clear Open | TC01-06-035 | 6 | 35 | Yes | graduations from 5cm to 25cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | -
FSQ85288 | Pennine Healthcare | Pennine | OSC-1206/35 | 6 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ588 | GBUK Healthcare | Tender Tip | TT01-06-035 | 6 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by supply disruption and demand managed
FSQ85285 | GenX Medicare | GenCath | GXM-786OSCC06 | 6 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Currently unavailable to order
FSQ568 | GBUK Healthcare | Tender Tip | TT01-06-050 | 6 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by supply disruption and demand managed
FSQ1464 | Westbourne Medical | Trach-Clear Open | TC01-07-035 | 7 | 35 | Yes | graduations from 5cm to 25cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Colour coding for this product is PURPLE.
FSQ85293 | Pennine Healthcare | Pennine | OSC-1207/35 | 7 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ85305 | Richardson Healthcare | RHL | 310307 | 7 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ589 | GBUK Healthcare | Tender Tip | TT01-07-035 | 7 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by supply disruption and demand managed
FSQ1469 | Westbourne Medical | Trach-Clear Open | TC01-07-050 | 7 | 50 | Yes | graduations from 5cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Colour coding for this product is PURPLE. In stock and under demand management
FSQ570 | GBUK Healthcare | Tender Tip | TT01-07-050 | 7 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ85289 | Pennine Healthcare | Pennine | OSC-1208/35 | 8 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ591 | GBUK Healthcare | Tender Tip | TT01-08-035 | 8 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ85283 | GenX Medicare | GenCath | GXM-786OSCC08 | 8 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Currently unavailable to order
FSQ572 | GBUK Healthcare | Tender Tip | TT01-08-050 | 8 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ85290 | Pennine Healthcare | Pennine | OSC-1210/35 | 10 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ593 | GBUK Healthcare | Tender Tip | TT01-10-035 | 10 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ85291 | Pennine Healthcare | Pennine | OSC-1210/48 | 10 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ85284 | GenX Medicare | GenCath | GXM-786OSCC10 | 10 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Currently unavailable to order
FSQ1471 | Westbourne Medical | Trach-Clear Open | TC01-10-050 | 10 | 50 | Yes | graduations from 5cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ575 | GBUK Healthcare | Tender Tip | TT01-10-050 | 10 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ2358 | Pennine Healthcare | Pennine | OSC-2210/60 | 10 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | -
FSQ85306 | Richardson Healthcare | RHL | 310610 | 10 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ580 | GBUK Healthcare | Tender Tip | TT01-10-060 | 10 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ1144 | GBUK Healthcare | Tender Tip | TT01-12-050 | 12 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ85282 | GenX Medicare | GenCath | GXM-786OSCC12 | 12 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Currently unavailable to order
FSQ85286 | Pennine Healthcare | Pennine | OSC-1212/60 | 12 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Stock due in w/c 26/06/2023
FSQ1476 | Westbourne Medical | Trach-Clear Open | TC01-12-060 | 12 | 60 | Yes | graduations from 5cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ576 | GBUK Healthcare | Tender Tip | TT01-12-060 | 12 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ003 | Pennine Healthcare | Pennine | OSC-1514/48 | 14 | 48 | No | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ85304 | Richardson Healthcare | RHL | 310614 | 14 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ85287 | Pennine Healthcare | Pennine | OSC-1214/60 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | In stock and under demand management
FSQ578 | GBUK Healthcare | Tender Tip | TT01-14-060 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ939 | Pennine Healthcare | Pennine | OSC-1814/60 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | -
FSQ940 | Pennine Healthcare | Pennine | OSC-1816/60 | 16 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | -
FSQ1479 | Westbourne Medical | Trach-Clear Open | TC01-18-060 | 18 | 60 | Yes | graduations from 5cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | -

## Non-Stocked Alternatives
Open Suction Catheters
Product Comparison Matrix
Issued | 2023-07-07
Key
Impacted GBUK product. Supply may be constrained
Product temporarily moving to stock - new NPC listed
Incumbent NPCs | Supplier | Brand | MPC | Gauge (fg) | Length (cm) | Graduated | Graduation Details | Graduation Intervals | Vacuum Control | Side Eyes | Unit of Issue | Stocked/Non-Stock | DEHP Free | Comments
FSQ587 | GBUK Healthcare | Tender Tip | TT01-05-035 | 5 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ588 | GBUK Healthcare | Tender Tip | TT01-06-035 | 6 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by supply disruption and demand managed
FSQ568 | GBUK Healthcare | Tender Tip | TT01-06-050 | 6 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by supply disruption and demand managed
FSQ589 | GBUK Healthcare | Tender Tip | TT01-07-035 | 7 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes | Product impacted by supply disruption and demand managed
FSQ570 | GBUK Healthcare | Tender Tip | TT01-07-050 | 7 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ591 | GBUK Healthcare | Tender Tip | TT01-08-035 | 8 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ572 | GBUK Healthcare | Tender Tip | TT01-08-050 | 8 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ593 | GBUK Healthcare | Tender Tip | TT01-10-035 | 10 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ575 | GBUK Healthcare | Tender Tip | TT01-10-050 | 10 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ580 | GBUK Healthcare | Tender Tip | TT01-10-060 | 10 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ1144 | GBUK Healthcare | Tender Tip | TT01-12-050 | 12 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ576 | GBUK Healthcare | Tender Tip | TT01-12-060 | 12 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
FSQ578 | GBUK Healthcare | Tender Tip | TT01-14-060 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown | Product impacted by supply disruption and demand managed
All NPCs | Supplier | Brand | MPC | Gauge (fg) | Length (cm) | Graduated | Graduation Details | Graduation Intervals | Vacuum Control | Side Eyes | Unit of Issue | Stocked/Non-Stock | DEHP Free | Comments
FSQ243 | Vygon | Vygon | 0535.04 | 4 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes | -
FSQ191 | Vygon | Vygon | 0535.05 | 5 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes | -
FSQ2660 | Pennine Healthcare | Pennine | OSC-1205/35 | 5 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ3010 | Pennine Healthcare | Pennine | OSC-1505/48 | 5 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3179 | Pennine Healthcare | Pennine | OSC-1205/48 | 5 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3200 | Pennine Healthcare | Pennine | SC-1105/48 | 5 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ993 | GBUK Healthcare | Tender Tip | TT01-05-050 | 5 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2799 | Pennine Healthcare | Pennine | OSC-1505/60 | 5 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3102 | Pennine Healthcare | Pennine | OSC-1205/60 | 5 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3180 | Pennine Healthcare | Pennine | SC-1105/60 | 5 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSY003 | Vygon | Vygon | 0535.06 | 6 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes | -
FSQ2670 | Pennine Healthcare | Pennine | OSC-1206/35 | 6 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ1262 | Proact Medical | PRO-Breathe | PB-372006 | 6 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No | -
FSQ1269 | Proact Medical | PRO-Breathe | PB-374006 | 6 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No | -
FSQ1175 | Pennine Healthcare | Pennine Healthcare | OSC-1206/48 | 6 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3156 | Pennine Healthcare | Pennine | OSC-1506/48 | 6 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3161 | Pennine Healthcare | Pennine | AESC100648 | 6 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3178 | Pennine Healthcare | Pennine | SC-1106/48 | 6 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ1164 | GBUK Healthcare | Bicakcilar | 191-0611-1 | 6 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2693 | GenX Medicare | GenCath | GXM-786OSCO06 | 6 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ3034 | GenX Medicare | GenCath | GXM-786OSCC06 | 6 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ2953 | Pennine Healthcare | Pennine | OSC-1506/53 | 6 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3185 | Pennine Healthcare | Pennine | AESC100653 | 6 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ2773 | Pennine Healthcare | Pennine | OSC-1206/60 | 6 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3158 | Pennine Healthcare | Pennine | SC-1106/60 | 6 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3192 | Pennine Healthcare | Pennine | OSC-1506/60 | 6 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ494 | Vygon | Vygon | 0535.07 | 7 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes | -
FSQ2694 | Richardson Healthcare | RHL | 320307 | 7 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2850 | Pennine Healthcare | Pennine | OSC-1207/35 | 7 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ2714 | Richardson Healthcare | RHL | 310307 | 7 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2881 | Richardson Healthcare | RHL | 301307 | 7 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ3035 | Richardson Healthcare | RHL | 300307 | 7 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ1176 | Pennine Healthcare | Pennine Healthcare | OSC-1207/48 | 7 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ2717 | Richardson Healthcare | RHL | 301507 | 7 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Due into stock within a week
FSQ2783 | Richardson Healthcare | RHL | 300507 | 7 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Due into stock within a week
FSQ2823 | Richardson Healthcare | RHL | 310507 | 7 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2880 | Richardson Healthcare | RHL | 320507 | 7 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2796 | Richardson Healthcare | RHL | 310607 | 7 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2873 | Richardson Healthcare | RHL | 301607 | 7 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2930 | Richardson Healthcare | RHL | 300607 | 7 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2970 | Richardson Healthcare | RHL | 320607 | 7 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ3044 | Pennine Healthcare | Pennine | OSC-1207/60 | 7 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ2657 | Pennine Healthcare | Pennine | OSC-1208/35 | 8 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ2679 | Richardson Healthcare | RHL | 320308 | 8 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2715 | Richardson Healthcare | RHL | 310308 | 8 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2967 | Richardson Healthcare | RHL | 301308 | 8 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2973 | Richardson Healthcare | RHL | 300308 | 8 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ1263 | Proact Medical | PRO-Breathe | PB-372008 | 8 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No | -
FSQ1270 | Proact Medical | PRO-Breathe | PB-374008 | 8 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No | -
FSQ1177 | Pennine Healthcare | Pennine Healthcare | OSC-1208/48 | 8 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3182 | Pennine Healthcare | Pennine | SC-1108/48 | 8 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3203 | Pennine Healthcare | Pennine | OSC-1508/48 | 8 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3204 | Pennine Healthcare | Pennine | AESC100848 | 8 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ1165 | GBUK Healthcare | Bicakcilar | 191-0811-1 | 8 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2727 | Richardson Healthcare | RHL | 301508 | 8 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Intermittent supply owing to an increase in demand
FSQ2728 | GenX Medicare | GenCath | GXM-786OSCO08 | 8 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2888 | Richardson Healthcare | RHL | 300508 | 8 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2929 | GenX Medicare | GenCath | GXM-786OSCC08 | 8 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ3042 | Richardson Healthcare | RHL | 320508 | 8 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Intermittent supply owing to an increase in demand
FSQ3105 | Richardson Healthcare | RHL | 310508 | 8 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Intermittent supply owing to an increase in demand
FSQ3187 | Pennine Healthcare | Pennine | OSC-1508/53 | 8 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3198 | Pennine Healthcare | Pennine | AESC100853 | 8 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ2882 | Richardson Healthcare | RHL | 301608 | 8 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2904 | Pennine Healthcare | Pennine | OSC-1208/60 | 8 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ2932 | Richardson Healthcare | RHL | 300608 | 8 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2951 | Richardson Healthcare | RHL | 320608 | 8 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ3087 | Richardson Healthcare | RHL | 310608 | 8 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ3160 | Pennine Healthcare | Pennine | SC-1108/60 | 8 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3172 | Pennine Healthcare | Pennine | OSC-1508/60 | 8 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ1895 | Vygon | Vygon | 0535.10 | 10 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes | -
FSQ2741 | Richardson Healthcare | RHL | 320310 | 10 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2785 | Richardson Healthcare | RHL | 300310 | 10 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2948 | Richardson Healthcare | RHL | 310310 | 10 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2986 | Richardson Healthcare | RHL | 301310 | 10 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ3100 | Pennine Healthcare | Pennine | OSC-1210/35 | 10 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ1264 | Proact Medical | PRO-Breathe | PB-372010 | 10 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3126 | Proact Medical | PRO-Breathe | PB-374010 | 10 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ1178 | Pennine Healthcare | Pennine Healthcare | OSC-1210/48TPS | 10 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ3190 | Pennine Healthcare | Pennine | SC-1110/48 | 10 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3197 | Pennine Healthcare | Pennine | AESC101048 | 10 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3202 | Pennine Healthcare | Pennine | OSC-1510/48 | 10 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ1166 | GBUK Healthcare | Bicakcilar | 191-1011-1 | 10 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2716 | Richardson Healthcare | RHL | 300510 | 10 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Intermittent supply owing to an increase in demand
FSQ2735 | Richardson Healthcare | RHL | 301510 | 10 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Intermittent supply owing to an increase in demand
FSQ2841 | Richardson Healthcare | RHL | 310510 | 10 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Intermittent supply owing to an increase in demand
FSQ2910 | Richardson Healthcare | RHL | 320510 | 10 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2931 | GenX Medicare | GenCath | GXM-786OSCC10 | 10 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ3039 | GenX Medicare | GenCath | GXM-786OSCO10 | 10 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2946 | Pennine Healthcare | Pennine | OSC-1510/53 | 10 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3163 | Pennine Healthcare | Pennine | AESC101053 | 10 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ2641 | Pennine Healthcare | Pennine | OSC-1210/60 | 10 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ2722 | Richardson Healthcare | RHL | 301610 | 10 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Intermittent supply owing to an increase in demand
FSQ2748 | Richardson Healthcare | RHL | 310610 | 10 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ2897 | Richardson Healthcare | RHL | 300610 | 10 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2917 | Richardson Healthcare | RHL | 320610 | 10 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ3166 | Pennine Healthcare | Pennine | SC-1110/60 | 10 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3181 | Pennine Healthcare | Pennine | OSC-1512/60 | 10 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3194 | Pennine Healthcare | Pennine | OSC-1510/60 | 10 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3195 | Pennine Healthcare | Pennine | AESC101060 | 10 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ2894 | Richardson Healthcare | RHL | 320312 | 12 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2919 | Richardson Healthcare | RHL | 300312 | 12 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2935 | Richardson Healthcare | RHL | 301312 | 12 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2957 | Pennine Healthcare | Pennine | OSC-1212/35 | 12 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ2983 | Richardson Healthcare | RHL | 310312 | 12 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ1265 | Proact Medical | PRO-Breathe | PB-372012 | 12 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No | -
FSQ1272 | Proact Medical | PRO-Breathe | PB-374012 | 12 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No | -
FSQ1179 | Pennine Healthcare | Pennine Healthcare | OSC-1212/48 | 12 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3162 | Pennine Healthcare | Pennine | OSC-1512/48 | 12 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3164 | Pennine Healthcare | Pennine | AESC101248 | 12 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3183 | Pennine Healthcare | Pennine | SC-1112/48 | 12 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ1167 | GBUK Healthcare | Bicakcilar | 191-1211-1 | 12 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2825 | GenX Medicare | GenCath | GXM-786OSCC12 | 12 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ2871 | Richardson Healthcare | RHL | 310512 | 12 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2934 | Richardson Healthcare | RHL | 301512 | 12 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2988 | GenX Medicare | GenCath | GXM-786OSCO12 | 12 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3029 | Richardson Healthcare | RHL | 300512 | 12 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Intermittent supply owing to an increase in demand
FSQ3092 | Richardson Healthcare | RHL | 320512 | 12 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2942 | Pennine Healthcare | Pennine | OSC-1512/53 | 12 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3176 | Pennine Healthcare | Pennine | AESC101253 | 12 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ2738 | Richardson Healthcare | RHL | 301612 | 12 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Intermittent supply owing to an increase in demand
FSQ2911 | Richardson Healthcare | RHL | 310612 | 12 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Intermittent supply owing to an increase in demand
FSQ2928 | Pennine Healthcare | Pennine | OSC-1212/60 | 12 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ2969 | Richardson Healthcare | RHL | 300612 | 12 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ3095 | Richardson Healthcare | RHL | 320612 | 12 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ3171 | Pennine Healthcare | Pennine | SC-1112/60 | 12 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3201 | Pennine Healthcare | Pennine | AESC101260 | 12 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ2736 | Richardson Healthcare | RHL | 300314 | 14 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2848 | Richardson Healthcare | RHL | 320314 | 14 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2913 | Richardson Healthcare | RHL | 301314 | 14 | 35 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2924 | Richardson Healthcare | RHL | 310314 | 14 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ3074 | Pennine Healthcare | Pennine | OSC-1214/35 | 14 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ1266 | Proact Medical | PRO-Breathe | PB-372014 | 14 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No | -
FSQ3127 | Proact Medical | PRO-Breathe | PB-374014 | 14 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No | -
FSQ3169 | Pennine Healthcare | Pennine | AESC101448 | 14 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3173 | Pennine Healthcare | Pennine | OSC-1214/48 | 14 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3175 | Pennine Healthcare | Pennine | SC-1114/48 | 14 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FDR356 | Cardinal Health UK | Argyle | 01953161 | 14 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ1168 | GBUK Healthcare | Bicakcilar | 191-1411-1 | 14 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2681 | GenX Medicare | GenCath | GXM-786OSCC14 | 14 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2700 | Richardson Healthcare | RHL | 301514 | 14 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2737 | Richardson Healthcare | RHL | 300514 | 14 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2739 | Richardson Healthcare | RHL | 320514 | 14 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2950 | GenX Medicare | GenCath | GXM-786OSCO14 | 14 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3096 | Richardson Healthcare | RHL | 310514 | 14 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2865 | Pennine Healthcare | Pennine | OSC-1514/53 | 14 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3199 | Pennine Healthcare | Pennine | AESC101453 | 14 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ2643 | Richardson Healthcare | RHL | 320614 | 14 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2733 | Richardson Healthcare | RHL | 300614 | 14 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ2780 | Richardson Healthcare | RHL | 310614 | 14 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ2947 | Richardson Healthcare | RHL | 301614 | 14 | 60 | No | - | - | Yes | 2 | 100 | Non-Stock | Yes | Codes suspened due to Supplier Issues
FSQ3030 | Pennine Healthcare | Pennine | OSC-1214/60 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | Non-stock NPC, product moving to stock (duplicate MPC)
FSQ3167 | Pennine Healthcare | Pennine | SC-1114/60 | 14 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3177 | Pennine Healthcare | Pennine | AESC101460 | 14 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3193 | Pennine Healthcare | Pennine | OSC-1514/60 | 14 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ2972 | Pennine Healthcare | Pennine | OSC-1216/35 | 16 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ1267 | Proact Medical | PRO-Breathe | PB-372016 | 16 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No | -
FSQ3128 | Proact Medical | PRO-Breathe | PB-374016 | 16 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No | -
FSQ2648 | Pennine Healthcare | Pennine | OSC-1216/48 | 16 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3165 | Pennine Healthcare | Pennine | AESC101648 | 16 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3168 | Pennine Healthcare | Pennine | OSC-1516/48 | 16 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3189 | Pennine Healthcare | Pennine | SC-1116/48 | 16 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ2889 | GenX Medicare | GenCath | GXM-786OSCC16 | 16 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2991 | GenX Medicare | GenCath | GXM-786OSCO16 | 16 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ3070 | Pennine Healthcare | Pennine | OSC-1516/53 | 16 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3196 | Pennine Healthcare | Pennine | AESC101653 | 16 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ1787 | GBUK Healthcare | Tender Tip | TT01-16-060 | 16 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes | -
FSQ2757 | Pennine Healthcare | Pennine | OSC-1216/60 | 16 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3157 | Pennine Healthcare | Pennine | AESC101660 | 16 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3186 | Pennine Healthcare | Pennine | SC-1116/60 | 16 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ3188 | Pennine Healthcare | Pennine | OSC-1516/60 | 16 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ1268 | Proact Medical | PRO-Breathe | PB-372018 | 18 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No | -
FSQ3125 | Proact Medical | PRO-Breathe | PB-374018 | 18 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No | -
FSQ2832 | Pennine Healthcare | Pennine | OSC-1518/48 | 18 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3159 | Pennine Healthcare | Pennine | AESC101848 | 18 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3191 | Pennine Healthcare | Pennine | SC-1118/48 | 18 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -
FSQ1170 | GBUK Healthcare | Bicakcilar | 191-1811-1 | 18 | 50 | No | - | - | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2819 | GenX Medicare | GenCath | GXM-786OSCO18 | 18 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2821 | GenX Medicare | GenCath | GXM-786OSCC18 | 18 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown | -
FSQ2725 | Pennine Healthcare | Pennine | OSC-1518/53 | 18 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3184 | Pennine Healthcare | Pennine | AESC101853 | 18 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ2952 | Pennine Healthcare | Pennine | OSC-1518/60 | 18 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes | -
FSQ3170 | Pennine Healthcare | Pennine | AESC101860 | 18 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes | -
FSQ3174 | Pennine Healthcare | Pennine | SC-1118/60 | 18 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes | -

## Westbourne Alt Image
Colour Coding
| TC01-05-035 | Suction Catheter Length 35cm Ch 5 with cm Graduations | Box of 100 | FSQ1462
| TC01-06-035 | Suction Catheter Length 35cm Ch 6 with cm Graduations | Box of 100 | FSQ1463
| TC01-07-035 | Suction Catheter Length 35cm Ch 7 with cm Graduations | Box of 100 | FSQ1464
| TC01-07-050 | Suction Catheter Length 50cm Ch 7 with cm Graduations | Box of 100 | FSQ1469
| TC01-10-050 | Suction Catheter Length 50cm Ch 10 with cm Graduations | Box of 100 | FSQ1471
| TC01-12-060 | Suction Catheter Length 60cm Ch 12 with cm Graduations | Box of 100 | FSQ1476
| TC01-18-060 | Suction Catheter Length 60cm Ch 18 with cm Graduations | Box of 100 | FSQ1479