## Guidance
Open Suction Catheters
Please note: Alternatives are often indirect alternatives and have been suggested to support continual patient care. Due to the clinical nature of these products, we advise you to consult your own clinical experts to ensure suitability for your organisation's use of these products. This Product Matrix is to be used as a tool to support local clinical decision making and to show the range of products available within the NHS Supply Chain catalogue. Customers are advised to log into our online catalogue to view the potential alternative products listed in this guide (see link). If you have any questions, please contact your local NHS Supply Chain Customer Services Advisor (see link). For product support contact your local NHS Supply Chain Clinical Nurse Advisor (see link).
https://my.supplychain.nhs.uk/catalogue
https://www.supplychain.nhs.uk/customer-service/customer-service-teams/
https://www.supplychain.nhs.uk/contact/clinical-nurse-advisors/
Guidance for using the Open Suction Catheter Product Matrix
Read the 'Instructions for Use' for any new products and adhere to the usage. The Product Matrix details the key specifications of Suction Catheters. These can be filtered to show alternative products that can be considered. The key consideration to be considered are the Gauge (size) and Length (cm) of the catheter and ensure this is suitable for the patient it is to be used on. To ensure continuity and accessibility of products, NHS Supply Chain are temporarily moving additional products into the NHS Supply Chain distribution centres. For some of these products, new NPCs are to be temporarily created to allow continued ordering of these goods. These will revert to their original non-stock NPC once this disruption has been resolved. This is reflected in the key and colour coding on the product matrix.

## Product Comparison Matrix
Open Suction Catheters
Product Comparison Matrix
Issued | 2023-05-16
Incumbent NPCs | Supplier | Brand | MPC | Gauge (fg) | Length (cm) | Graduated | Graduation Details | Graduation Intervals | Vacuum Control | Side Eyes | Unit of Issue | Stocked/Non-Stock | DEHP Free
FSQ587 | GBUK Healthcare | Tender Tip | TT01-05-035 | 5 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ588 | GBUK Healthcare | Tender Tip | TT01-06-035 | 6 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ568 | GBUK Healthcare | Tender Tip | TT01-06-050 | 6 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ589 | GBUK Healthcare | Tender Tip | TT01-07-035 | 7 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ570 | GBUK Healthcare | Tender Tip | TT01-07-050 | 7 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ591 | GBUK Healthcare | Tender Tip | TT01-08-035 | 8 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ572 | GBUK Healthcare | Tender Tip | TT01-08-050 | 8 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ593 | GBUK Healthcare | Tender Tip | TT01-10-035 | 10 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ575 | GBUK Healthcare | Tender Tip | TT01-10-050 | 10 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ580 | GBUK Healthcare | Tender Tip | TT01-10-060 | 10 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ1144 | GBUK Healthcare | Tender Tip | TT01-12-050 | 12 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Stocked | Unknown
FSQ576 | GBUK Healthcare | Tender Tip | TT01-12-060 | 12 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ578 | GBUK Healthcare | Tender Tip | TT01-14-060 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
All NPCs | Supplier | Brand | MPC | Gauge (fg) | Length (cm) | Graduated | Graduation Details | Graduation Intervals | Vacuum Control | Side Eyes | Unit of Issue | Stocked/Non-Stock | DEHP Free
FSQ243 | Vygon | Vygon | 0535.04 | 4 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes
FSQ191 | Vygon | Vygon | 0535.05 | 5 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes
FSQ85292 | Pennine Healthcare | Pennine | OSC-1205/35 | 5 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ2660 | Pennine Healthcare | Pennine | OSC-1205/35 | 5 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ587 | GBUK Healthcare | Tender Tip | TT01-05-035 | 5 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ3010 | Pennine Healthcare | Pennine | OSC-1505/48 | 5 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes
FSQ3179 | Pennine Healthcare | Pennine | OSC-1205/48 | 5 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ3200 | Pennine Healthcare | Pennine | SC-1105/48 | 5 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ993 | GBUK Healthcare | Tender Tip | TT01-05-050 | 5 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown
FSQ3102 | Pennine Healthcare | Pennine | OSC-1205/60 | 5 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ3180 | Pennine Healthcare | Pennine | SC-1105/60 | 5 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSY003 | Vygon | Vygon | 0535.06 | 6 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes
FSQ85288 | Pennine Healthcare | Pennine | OSC-1206/35 | 6 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ2670 | Pennine Healthcare | Pennine | OSC-1206/35 | 6 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ588 | GBUK Healthcare | Tender Tip | TT01-06-035 | 6 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ1262 | Proact Medical | PRO-Breathe | PB-372006 | 6 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No
FSQ1269 | Proact Medical | PRO-Breathe | PB-374006 | 6 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No
FSQ1175 | Pennine Healthcare | Pennine Healthcare | OSC-1206/48 | 6 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ3156 | Pennine Healthcare | Pennine | OSC-1506/48 | 6 | 48 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes
FSQ3161 | Pennine Healthcare | Pennine | AESC100648 | 6 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ3178 | Pennine Healthcare | Pennine | SC-1106/48 | 6 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ2693 | GenX Medicare | GenCath | GXM-786OSCO06 | 6 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes
FSQ85285 | GenX Medicare | GenCath | GXM-786OSCC06 | 6 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FPA85019 | Richardson Healthcare | Richardson | 310506 | 6 | 50 | Yes | - | - | Yes | 2 | 1 | Stocked | Yes
FSQ568 | GBUK Healthcare | Tender Tip | TT01-06-050 | 6 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ3185 | Pennine Healthcare | Pennine | AESC100653 | 6 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ3158 | Pennine Healthcare | Pennine | SC-1106/60 | 6 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ3192 | Pennine Healthcare | Pennine | OSC-1506/60 | 6 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes
FSQ494 | Vygon | Vygon | 0535.07 | 7 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes
FSQ1464 | Westbourne Medical | Trach-Clear Open | TC01-07-035 | 7 | 35 | Yes | graduations from 5cm to 25cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ85293 | Pennine Healthcare | Pennine | OSC-1207/35 | 7 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ2850 | Pennine Healthcare | Pennine | OSC-1207/35 | 7 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ85305 | Richardson Healthcare | RHL | 310307 | 7 | 35 | Yes | graduations from 4cm to 25cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ589 | GBUK Healthcare | Tender Tip | TT01-07-035 | 7 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ1469 | Westbourne Medical | Trach-Clear Open | TC01-07-050 | 7 | 50 | Yes | graduations from 5cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ570 | GBUK Healthcare | Tender Tip | TT01-07-050 | 7 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ3044 | Pennine Healthcare | Pennine | OSC-1207/60 | 7 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ85289 | Pennine Healthcare | Pennine | OSC-1208/35 | 8 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ2657 | Pennine Healthcare | Pennine | OSC-1208/35 | 8 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ591 | GBUK Healthcare | Tender Tip | TT01-08-035 | 8 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ1263 | Proact Medical | PRO-Breathe | PB-372008 | 8 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No
FSQ1270 | Proact Medical | PRO-Breathe | PB-374008 | 8 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No
FSQ1177 | Pennine Healthcare | Pennine Healthcare | OSC-1208/48 | 8 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ3182 | Pennine Healthcare | Pennine | SC-1108/48 | 8 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ3204 | Pennine Healthcare | Pennine | AESC100848 | 8 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ1470 | Westbourne Medical | Trach-Clear Open | TC01-08-050 | 8 | 50 | Yes | - | - | Yes | 2 | 1 | Stocked | Yes
FSQ2728 | GenX Medicare | GenCath | GXM-786OSCO08 | 8 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown
FSQ85283 | GenX Medicare | GenCath | GXM-786OSCC08 | 8 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ572 | GBUK Healthcare | Tender Tip | TT01-08-050 | 8 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ3198 | Pennine Healthcare | Pennine | AESC100853 | 8 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ2904 | Pennine Healthcare | Pennine | OSC-1208/60 | 8 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ3160 | Pennine Healthcare | Pennine | SC-1108/60 | 8 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ1895 | Vygon | Vygon | 0535.10 | 10 | 29 | Yes |  |  | Yes | 2 | 50 | Non-Stock | Yes
FSQ85290 | Pennine Healthcare | Pennine | OSC-1210/35 | 10 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ3100 | Pennine Healthcare | Pennine | OSC-1210/35 | 10 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ593 | GBUK Healthcare | Tender Tip | TT01-10-035 | 10 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ1264 | Proact Medical | PRO-Breathe | PB-372010 | 10 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown
FSQ3126 | Proact Medical | PRO-Breathe | PB-374010 | 10 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown
FSQ85291 | Pennine Healthcare | Pennine Healthcare | OSC-1210/48 | 10 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ1178 | Pennine Healthcare | Pennine Healthcare | OSC-1210/48TPS | 10 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ3190 | Pennine Healthcare | Pennine | SC-1110/48 | 10 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ3197 | Pennine Healthcare | Pennine | AESC101048 | 10 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ85284 | GenX Medicare | GenCath | GXM-786OSCC10 | 10 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ1471 | Westbourne Medical | Trach-Clear Open | TC01-10-050 | 10 | 50 | Yes | graduations from 5cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ3039 | GenX Medicare | GenCath | GXM-786OSCO10 | 10 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown
FSQ575 | GBUK Healthcare | Tender Tip | TT01-10-050 | 10 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ3163 | Pennine Healthcare | Pennine | AESC101053 | 10 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ2358 | Pennine Healthcare | Pennine Healthcare | OSC-2210/60 | 10 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ85306 | Richardson Healthcare | RHL | 310610 | 10 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ3166 | Pennine Healthcare | Pennine | SC-1110/60 | 10 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ85355 | Pennine Healthcare | Pennine | OSC-1210/60 | 10 | 60 | Yes | - | - | Yes | 2 | 1 | Stocked | Yes
FSQ3195 | Pennine Healthcare | Pennine | AESC101060 | 10 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ580 | GBUK Healthcare | Tender Tip | TT01-10-060 | 10 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ2957 | Pennine Healthcare | Pennine | OSC-1212/35 | 12 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ1265 | Proact Medical | PRO-Breathe | PB-372012 | 12 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No
FSQ1272 | Proact Medical | PRO-Breathe | PB-374012 | 12 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No
FSQ3164 | Pennine Healthcare | Pennine | AESC101248 | 12 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ3183 | Pennine Healthcare | Pennine | SC-1112/48 | 12 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ1144 | GBUK Healthcare | Tender Tip | TT01-12-050 | 12 | 50 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 100 | Stocked | Unknown
FSQ85282 | GenX Medicare | GenCath | GXM-786OSCC12 | 12 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ2988 | GenX Medicare | GenCath | GXM-786OSCO12 | 12 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown
FSQ3176 | Pennine Healthcare | Pennine | AESC101253 | 12 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ85286 | Pennine Healthcare | Pennine | OSC-1212/60 | 12 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ3171 | Pennine Healthcare | Pennine | SC-1112/60 | 12 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ3201 | Pennine Healthcare | Pennine | AESC101260 | 12 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ576 | GBUK Healthcare | Tender Tip | TT01-12-060 | 12 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ3074 | Pennine Healthcare | Pennine | OSC-1214/35 | 14 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ1266 | Proact Medical | PRO-Breathe | PB-372014 | 14 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No
FSQ3127 | Proact Medical | PRO-Breathe | PB-374014 | 14 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No
FSQ3169 | Pennine Healthcare | Pennine | AESC101448 | 14 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ3173 | Pennine Healthcare | Pennine | OSC-1214/48 | 14 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ3175 | Pennine Healthcare | Pennine | SC-1114/48 | 14 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ2681 | GenX Medicare | GenCath | GXM-786OSCC14 | 14 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown
FSQ2950 | GenX Medicare | GenCath | GXM-786OSCO14 | 14 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown
FSQ3199 | Pennine Healthcare | Pennine | AESC101453 | 14 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ85304 | Richardson Healthcare | RHL | 310614 | 14 | 60 | Yes | graduations from 4cm to 50cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ85287 | Pennine Healthcare | Pennine | OSC-1214/60 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ3030 | Pennine Healthcare | Pennine | OSC-1214/60 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ3167 | Pennine Healthcare | Pennine | SC-1114/60 | 14 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ3177 | Pennine Healthcare | Pennine | AESC101460 | 14 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ3193 | Pennine Healthcare | Pennine | OSC-1514/60 | 14 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes
FSQ578 | GBUK Healthcare | Tender Tip | TT01-14-060 | 14 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 1 | Stocked | Unknown
FSQ2972 | Pennine Healthcare | Pennine | OSC-1216/35 | 16 | 35 | Yes | graduations from 4cm to 35cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ1267 | Proact Medical | PRO-Breathe | PB-372016 | 16 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No
FSQ3128 | Proact Medical | PRO-Breathe | PB-374016 | 16 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No
FSQ2648 | Pennine Healthcare | Pennine | OSC-1216/48 | 16 | 48 | Yes | graduations from 4cm to 48cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ3165 | Pennine Healthcare | Pennine | AESC101648 | 16 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ3189 | Pennine Healthcare | Pennine | SC-1116/48 | 16 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ2889 | GenX Medicare | GenCath | GXM-786OSCC16 | 16 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown
FSQ2991 | GenX Medicare | GenCath | GXM-786OSCO16 | 16 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown
FSQ3196 | Pennine Healthcare | Pennine | AESC101653 | 16 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ1787 | GBUK Healthcare | Tender Tip | TT01-16-060 | 16 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 100 | Non-Stock | Yes
FSQ2757 | Pennine Healthcare | Pennine | OSC-1216/60 | 16 | 60 | Yes | graduations from 4cm to 60cm | every 1cm | Yes | 2 | 400 | Non-Stock | Yes
FSQ3157 | Pennine Healthcare | Pennine | AESC101660 | 16 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ3186 | Pennine Healthcare | Pennine | SC-1116/60 | 16 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ3188 | Pennine Healthcare | Pennine | OSC-1516/60 | 16 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes
FSQ1268 | Proact Medical | PRO-Breathe | PB-372018 | 18 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No
FSQ3125 | Proact Medical | PRO-Breathe | PB-374018 | 18 | 40 | Yes | graduations from 5cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | No
FSQ3159 | Pennine Healthcare | Pennine | AESC101848 | 18 | 48 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ3191 | Pennine Healthcare | Pennine | SC-1118/48 | 18 | 48 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes
FSQ2819 | GenX Medicare | GenCath | GXM-786OSCO18 | 18 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown
FSQ2821 | GenX Medicare | GenCath | GXM-786OSCC18 | 18 | 50 | Yes | graduations from 4cm to 40cm | every 1cm | Yes | 2 | 100 | Non-Stock | Unknown
FSQ2725 | Pennine Healthcare | Pennine | OSC-1518/53 | 18 | 53 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes
FSQ3184 | Pennine Healthcare | Pennine | AESC101853 | 18 | 53 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ1479 | Westbourne Medical | Trach-Clear Open | TC01-18-060 | 18 | 60 | Yes | graduations from 5cm to 35cm | every 1cm | Yes | 2 | 1 | Stocked | Yes
FSQ2952 | Pennine Healthcare | Pennine | OSC-1518/60 | 18 | 60 | No | - | - | Yes | 2 | 400 | Non-Stock | Yes
FSQ3170 | Pennine Healthcare | Pennine | AESC101860 | 18 | 60 | No | - | - | No | 1 | 100 | Non-Stock | Yes
FSQ3174 | Pennine Healthcare | Pennine | SC-1118/60 | 18 | 60 | No | - | - | Yes | 1 | 400 | Non-Stock | Yes

## Westbourne Alt Image
Colour Coding
| TC01-05-035 | Suction Catheter Length 35cm Ch 5 with cm Graduations | Box of 100 | FSQ1462
| TC01-06-035 | Suction Catheter Length 35cm Ch 6 with cm Graduations | Box of 100 | FSQ1463
| TC01-07-035 | Suction Catheter Length 35cm Ch 7 with cm Graduations | Box of 100 | FSQ1464
| TC01-07-050 | Suction Catheter Length 50cm Ch 7 with cm Graduations | Box of 100 | FSQ1469
| TC01-10-050 | Suction Catheter Length 50cm Ch 10 with cm Graduations | Box of 100 | FSQ1471
| TC01-12-060 | Suction Catheter Length 60cm Ch 12 with cm Graduations | Box of 100 | FSQ1476
| TC01-18-060 | Suction Catheter Length 60cm Ch 18 with cm Graduations | Box of 100 | FSQ1479