## Product Listing
ICN 3214 ¦ Field Safety Notice ¦ Armstrong Medical Anaesthetic Circuit, AquaVENT® CPAP System, Ventilator Circuit for Non-invasive Ventilation
Product Listing
Issued: | 2026-01-14
The prices stated on this product listing are inclusive of VAT and reflect the national catalogue pricing (Buy Price = Sell Price). If you have a bespoke or regional pricing your pricing will vary from the national catalogue price. Pricing and product information is correct at the time of publication, products may be subject to price changes, please refer to our online catalogue.
NPC | GTIN | Product Description | Secondary Product Description | Supplier | Brand | Supplier Code / MPC | Supply Route | Lead Time | Unit of Issue | # of Units
FAG5772 | 25059443003986 | Ventilator & sleep therapy accessory | Ventilator circuit adult single limb non-heated length 1.8m in smooth bore tubing with exhalation valve bacterial viral breathing filter | Armstrong Medical Ltd | Armstrong Medical Ltd | AMVC1792-013 | eDirect | 6 days | Box | 40
FAG4862 | 25059443004037 | Breathing Circuit | Ventilator for non-invasive ventilation single limb adult non-heated length 1.8m in smooth bore polyethylene tubing with manometer line and detachable bacterial viral filter | Armstrong Medical Ltd | Armstrong Medical | AMVC1792-070 | eDirect | 5 days | Box | 20
FFH85024 | 15059443004047 | Adult Single limb | for patients over20kgs non-heatedsingle limblength 1.8min smooth bore tubingwith pressure linebacterial viral breathing filterCO2 exhalation valve with circuit change label | Armstrong Medical Ltd | AquaVENT | AMVC1792-078 | eDirect | 5 days | Box | 40
FFH85026 | 15059443016187 | Adult Single limb | for patients over10kgs non-heatedsingle limblength 1.8min smooth bore tubingwith trigger line and supplemental oxygen linelength 2.0m exhalation valve with circuit change label | Armstrong Medical Ltd | AquaVENT | AMVC1792-178 | eDirect | 5 days | Box | 40
FFH85056 | 15059443015197 | Adult Single limb | non-heatedsingle limblength 1.8min smooth bore tubingwith safety capwith pressure linelength 2.0m bacterial viral breathing filterclipsCO2 exhalation valve | Armstrong Medical Ltd | AquaVENT | AMVC1792-234 | eDirect | 5 days | Box | 40
FAG5778 | Deactivated | Ventilator & sleep therapy accessory | Ventilator circuit single limb adult non-heated length 1.8m in smooth bore PE tubing with bacterial viral breathing filter | Armstrong Medical Ltd | Armstrong Medical Ltd | AMVC1792-092 | eDirect | 6 days | Box | 40
FFH85041 | Deactivated | Adult Single limb | for patients over20kgs non-heated length 1.8min smooth bore tubing with pressure line length 3.0m bacterial viral breathing with facemask Smallwith circuit change label | Armstrong Medical Ltd | AquaVENT | AMVC1792-126 | eDirect | 5 days | Each | 1
FFH85030 | Deactivated | Adult Single limb | for patients over20kgs non-heatedsingle limblength 1.8min smooth bore tubingwith pressure linelength 3.0m bacterial viral breathing filterwith facemaskExtra Smallwith circuit change label | Armstrong Medical Ltd | AquaVENT | AMVC1792-127 | eDirect | 5 days | Each | 1
FFH85016 | Deactivated | Adult Single limb | for patients over 20kgs non-heatedsingle limblength 1.8min smooth bore tubingbacterial viral breathing filterwith supplemental oxygen port with circuit change label | Armstrong Medical Ltd | AquaVENT | AMVC1792-137 | eDirect | 5 days | Each | 1
FFH85017 | Deactivated | Adult Single limb | for patients over20kgs non-heatedsingle limblength 1.8min smooth bore tubingwith supplemental oxygen linelength 2.0m bacterial viral breathing filterwith circuit change label | Armstrong Medical Ltd | AquaVENT | AMVC1792-138 | eDirect | 5 days | Each | 1
FFH85028 | Deactivated | Adult Single limb | for patients over 20kgs non-heatedsingle limblength 1.8min smooth bore tubingwith Gas sampling line length 2.0m clipstubing hangerCO2 exhalation valve with circuit change label | Armstrong Medical Ltd | AquaVENT | AMVC1792-143 | eDirect | 5 days | Each | 1
FFH85025 | Deactivated | Adult Single limb | for patients over 10kgs non-heatedsingle limblength 1.8min smooth bore tubingwith pressure linelength 3.0m bacterial viral breathing filterwith facemaskPetitewith circuit change label | Armstrong Medical Ltd | AquaVENT | AMVC1792-168 | eDirect | 5 days | Each | 1