Information for Clinical Choice

Pulse Lavage

Support Document

Introduction

Information for Clinical Choice (ICC) has been developed to assist Clinicians in the decision-making process when assessing the suitability of a product by providing a clear illustration and description of the features of a range of similar products supplied through NHS Supply Chain. The criteria provided, in the form of a Product Matrix and Support Document, is the result of a product review, conducted by Clinical Engagement and Implementation Managers, with support from clinical stakeholders from across the NHS.

The aim, alongside delivering savings back into NHS frontline services, is to ensure that clinical choice remains at the forefront of any product switching decision.

Total Orthopaedic Solutions 3: Pulse lavage

Pulse lavage is a surgical device powered tool, that provides simultaneous high- or low-pressure irrigation and suction to effectively clean / remove unwanted tissue or substances from wounds, or from bone during orthopaedic procedures.

| Pulse Lavage |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Supplier | Fannin UK Limited | Fannin UK Limited | Heraeus Medical UK Limited | Heraeus Medical UK Limited | Judd Medical Limited |
| Brand | Clean Medical | Clean Medical | palaJet | palaJet | Kaiser |
| MPC | W-203-B | W-205 | 5156831 | 5203575 | L41100 |
| NPC | FQC86060 | FQC86061 | FQQ85000 | FCC87063 | FJT31333 |
| Description | Clean Disposable Pulse Lavage System | Clean Disposable Pulse Lavage Mains Operated System | palaJet | palaJet AC Disposable Lavage System | Disposable Pulse Lavage |
| Supply Route | eDirect | eDirect | eDirect | eDirect | eDirect |
| Unit | Box | Box | Box | Box | EA |
| Product Type | Fully Disposable System | Fully Disposable System | Fully Disposable System | Fully Disposable System | Fully Disposable System |
| Secondary Product Type | Hand Piece | Hand Piece | Hand Piece | Hand Piece | Hand Piece |
| Quantity | 10 | 10 | 10 | 10 | 1 |
| Operating Mechanism | Battery | Mains | Battery | Mains | Battery |
| Type of System | Single Use | Single Use | Single Use | Single Use | Single Use |
| Nozzle Pack Configuration (Hip or Knee) | H & K – Combined | H & K – Combined | H & K – Combined | H & K – Combined | H & K – Combined |
| Pressure | Variable | Variable | Variable | Variable | Variable |
| Flow Pressure | High / Low | High / Low | High / Low | High / Low | High / Low |
| Notes | - | Need to purchase reusable AC adaptor W-205-01B | - | - | - |

| Pulse Lavage |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Supplier | Judd Medical Limited | Kaiser Medical Technology Limited | Kaiser Medical Technology Limited | Microport | Molnlycke Health Care Limited |
| Brand | Kaiser | SOLOMAX | SOLOMAX | Microport | Molnlycke |
| MPC | SMX-2500-Z | SMX-2500-B2-DP-ST01Z-CT02Z-3M | SMX-2500-Z-DP-ST01Z-CT02Z | MPPL01 | 9750000 |
| NPC | FCC85654 | FBX85899 | FBX85898 | FJE7822 | FJT30858 |
| Description | Disposable Pulse Lavage, Z Type | Solomax B Type Pulse Lavage | Solomax Z Type Pulse Lavage System | Disposable surgical/orthopaedic lavage system, battery-powered | Pulsed Lavage System AC Power, Hand Piece, All inclusive, 3m suction tube, 3m irrigation tube |
| Supply Route | eDirect | eDirect | eDirect | eDirect | eDirect |
| Unit | EA | Box | Box | Box | Box |
| Product Type | Fully Disposable System | Fully Disposable System | Fully Disposable System | Fully Disposable System | Fully Disposable System |
| Secondary Product Type | Hand Piece | Hand Piece | Hand Piece | Hand Piece | Hand Piece |
| Quantity | 1 | 5 | 5 | 6 | 5 |
| Operating Mechanism | Battery | Battery | Battery | Battery | Mains |
| Type of System | Single Use | Single Use | Single Use | Single Use | Single Use |
| Nozzle Pack Configuration (Hip or Knee) | H & K – Combined | H & K – Combined | H & K – Combined | H & K – Combined | H & K – Combined |
| Pressure | Variable | Variable | Variable | Variable | Variable |
| Flow Pressure | High / Low | High / Low | High / Low | High / Low | High / Low |
| Notes | - | - | - | - | - |

| Pulse Lavage |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Supplier | Molnlycke Health Care Limited | Osteon Medical Limited | Osteon Medical Limited | Summit Medical UK Limited | Summit Medical UK Limited |
| Brand | Molnlycke | OSARTIS | OSARTIS | SUMMIT MEDICAL | SUMMIT MEDICAL |
| MPC | 9750003 | LD 1000 | LD1500 | WZ-WDS-01 | WZ-WDS-07 |
| NPC | FBX85869 | FCB100212 | FCB100213 | FBU86830 | FBU86829 |
| Description | Pulsed Lavage System, Hand Piece, All-inclusive, Built-in Battery, 3m suction tube, 3m irrigation tube | PulsaClean® Disposable Pulse Lavage System (with batteries) 1 LD 1000 | PulsaClean® AC Disposable Pulse Lavage System 1 LD 1500 | SUMMIT MEDICAL PULSE LAVAGE SHORT & LONG NOZZLE EXT BATTERY | SUMMIT MEDICAL PULSE LAVAGE SHORT/ LONG NOZZLE & FEMORAL BRUSH EXT |
| Supply Route | eDirect | eDirect | eDirect | eDirect | eDirect |
| Unit | Box | EA | EA | Pack | Pack |
| Product Type | Fully Disposable System | Fully Disposable System | Fully Disposable System | Fully Disposable System | Fully Disposable System |
| Secondary Product Type | Hand Piece | Hand Piece | Hand Piece | Hand Piece | Hand Piece |
| Quantity | 5 | 1 | 1 | 5 | 5 |
| Operating Mechanism | Battery | Battery | Mains | Battery | Mains |
| Type of System | Single Use | Single Use | Single Use | Single Use | Single Use |
| Nozzle Pack Configuration (Hip or Knee) | H & K – Combined | H & K – Combined | H & K – Combined | H & K – Combined | H & K – Combined |
| Pressure | Variable | Variable | Variable | Variable | Variable |
| Flow Pressure | High / Low | High / Low | High / Low | High / Low | High / Low |
| Notes | - | - | Need to purchase reusable AC adaptor LD1510 | - | - |

| Pulse Lavage |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Supplier | Summit Medical UK Limited | Zimmer Biomet UK Limited | Zimmer Biomet UK Limited | Zimmer Biomet UK Limited | Zimmer Biomet UK Limited |
| Brand | SUMMIT MEDICAL | Pulse Lavage | Pulse Lavage | Wound Debridement | Wound Debridement |
| MPC | WZ-WPL-01 | 00-5150-426-01 | 00-5150-476-01 | 00-5150-420-00 | 00-5150-475-00 |
| NPC | FBU86828 | FQQ2211 | FQQ2212 | FQQ2223 | FCB16713 |
| Description | SUMMIT MEDICAL PULSE LAVAGE SHORT & LONG NOZZLE INT BATTERY | PULS PLUS AC COMPONENT KIT | PULS PLUS AC W/FAN SPRAY TIP | PULSAVAC + COMP KIT 10/BOX | PULS + FAN SPRAY KIT 10/BOX |
| Supply Route | eDirect | eDirect | eDirect | eDirect | eDirect |
| Unit | Pack | EA | EA | Pack | Pack |
| Product Type | Fully Disposable System | Fully Disposable System | Fully Disposable System | Fully Disposable System | Fully Disposable System |
| Secondary Product Type | Hand Piece | Hand Piece | Hand Piece | Hand Piece | Hand Piece |
| Quantity | 5 | 1 | 1 | 10 | 10 |
| Operating Mechanism | Battery | Mains | Mains | Battery | Battery |
| Type of System | Single Use | Single Use | Single Use | Single Use | Single Use |
| Nozzle Pack Configuration (Hip or Knee) | H & K – Combined | Separate (hand piece only) | Knee | Separate (hand piece only) | Knee |
| Pressure | Variable | Variable | Variable | Variable | Variable |
| Flow Pressure | High / Low | High / Low | High / Low | High / Low | High / Low |
| Notes | - | Need to purchase reusable AC adaptor 00-5150-350-02 | Need to purchase reusable AC adaptor 00-5150-350-02 | - | - |

| Supplier | Zimmer Biomet UK Limited |
| --- | --- |
| Brand | Wound Debridement |
| MPC | 00-5150-482-00 |
| NPC | FCB16714 |
| Description | PULSAVAC + HIP KIT 10/BOX |
| Supply Route | eDirect |
| Unit | Pack |
| Product Type | Fully Disposable System |
| Secondary Product Type | Hand Piece |
| Quantity | 10 |
| Operating Mechanism | Battery |
| Type of System | Single Use |
| Nozzle Pack Configuration (Hip or Knee) | Hip |
| Pressure | Variable |
| Flow Pressure | High / Low |
| Notes | - |