Urgent Field Safety Notice

Rocialle Healthcare Limited

Various Procedure Packs Containing 1ml and 1.5ml ChloraPrep

Date: 04/06/2026

FSN 2026-01

------------------------------------------------------------------------------------------------------------------------------------------------------

Details of affected devices:

Becton Dickinson UK Ltd (BD) has issued DMRC - 39617055 for a Class 2 recall of ChloraPrep 2% w/v / 70% v/v cutaneous solution 1mL applicators and ChloraPrep Frepp 2% w/v / 70% v/v cutaneous solution 1.5 mL applicators, with an expiry date up to and including February 2028.  Rocialle Healthcare has incorporated these medicinal products into the procedure packs listed in Appendix 1, all of which are affected by this Defective Medicine:

Description of the problem:

Becton Dickinson UK Ltd are recalling batches of ChloraPrep 2% w/v / 70% v/v cutaneous solution 1mL applicators and ChloraPrep Frepp 2% w/v / 70% v/v cutaneous solution 1.5 mL applicators due to a potential breach of sterility in the packaging process. The recall applies to all batches with an expiry date up to and including 02/2028. Batches with an expiry date after 02/2028 are not impacted.

This defect could increase the risk of the applicator device being contaminated with pathogens, which could lead to increased infection rates for the patients.

Action to be taken by the user:

Rocialle are kindly requesting that customers remove the ChloraPrep from the affected pack and discard in accordance with local medicinal product handling guidelines. Please log this issue on the Rocialle customer complaint portal here: https://www.rocialleacutecare.com/report-a-problem/, advising us of the quantity affected and confirming that the ChloraPrep has been discarded. If you would prefer to return the pack for a full credit, please let us know on the Portal after which our customer services team will organise the uplift and replacement.

Transmission of this Field Safety Notice: (if appropriate)

This notice needs to be passed on all those who need to be aware within your organisation, or to any organisation where the potentially affected products may have been transferred (if appropriate).

Please transfer this notice to other organisations on which this action has an impact, if appropriate.

Please maintain awareness on this notice and resulting action for an appropriate period to ensure effectiveness of the corrective action, if appropriate.

Contact reference team:

If you have any queries regarding this Field Safety Notice, please contact:

Rocialle Healthcare Limited

Regulatory Team

Ty Mynydd

Cwm Cynon Business Park (North)

Mountain Ash

Rhondda Cynon Taff

CF45 4ER

Email: 	regulatory@rociallehealthcare.com

Tel: 	01443 471300

| Pack Ref | Description | WO number | Pack expiry date |
| --- | --- | --- | --- |
| RML506-040 | (DP)AW PVC Cannulation Pack | W543608 | 2026-07 |
| RML500-001 | (DP) IV Cannulation Pack | W543649 | 2026-07 |
| RML506-075 | (DP)Adult Cannulation Pack | W543648 | 2026-07 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W543753 | 2026-07 |
| RMT0990 | (DP) Arterial pack | W543891 | 2026-12 |
| RML506-075 | (DP)Adult Cannulation Pack | W544443 | 2026-08 |
| RML506-075 | (DP)Adult Cannulation Pack | W544582 | 2026-08 |
| RML500-001 | (DP) IV Cannulation Pack | W544632 | 2026-10 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W544634 | 2026-10 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W544766 | 2026-10 |
| RML506-118 | (DP) Adult Cannulation Pack | W544808 | 2026-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W544912 | 2026-10 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W545139 | 2026-11 |
| RMT0990 | (DP) Arterial pack | W545183 | 2026-11 |
| RML506-075 | (DP)Adult Cannulation Pack | W545185 | 2026-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W545286 | 2026-11 |
| RML506-153 | (DP) IV Pack | W545377 | 2026-08 |
| RML500-001 | (DP) IV Cannulation Pack | W545440 | 2026-09 |
| RML506-118 | (DP) Adult Cannulation Pack | W545441 | 2026-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W545486 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W545579 | 2026-10 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W545818 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W545831 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W545983 | 2026-11 |
| RML506-118 | (DP) Adult Cannulation Pack | W546066 | 2026-12 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W546258 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W546380 | 2026-12 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W546556 | 2026-12 |
| RML506-118 | (DP) Adult Cannulation Pack | W546557 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W546613 | 2027-01 |
| RML102-225 | (DP) Adult IV Insertion Pack | W546696 | 2027-01 |
| RML102-225 | (DP) Adult IV Insertion Pack | W547276 | 2026-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W547277 | 2026-08 |
| RML112-193 | (DP) Cannulation Pack | W547281 | 2026-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W547449 | 2027-01 |
| RML506-166 | (DP)IV Pack Option 2 with leaflet | W547278 | 2026-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W547493 | 2027-02 |
| RML506-075 | (DP)Adult Cannulation Pack | W547491 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W547631 | 2027-02 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W547677 | 2027-02 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W547738 | 2027-02 |
| RML506-118 | (DP) Adult Cannulation Pack | W547736 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W547793 | 2027-02 |
| RML102-225 | (DP) Adult IV Insertion Pack | W547790 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W547866 | 2027-02 |
| RML506-166 | (DP)IV Pack Option 2 with leaflet | W547865 | 2027-02 |
| RML102-225 | (DP) Adult IV Insertion Pack | W547838 | 2027-02 |
| RML500-001 | (DP) IV Cannulation Pack | W547864 | 2027-02 |
| RML506-153 | (DP) IV Pack | W547964 | 2026-08 |
| RML112-193 | (DP) Cannulation Pack | W548064 | 2027-01 |
| RML506-118 | (DP) Adult Cannulation Pack | W548065 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W548066 | 2027-01 |
| RML102-225 | (DP) Adult IV Insertion Pack | W548108 | 2027-01 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W548237 | 2027-01 |
| RML506-118 | (DP) Adult Cannulation Pack | W548325 | 2026-11 |
| RML112-193 | (DP) Cannulation Pack | W548375 | 2027-02 |
| RML500-001 | (DP) IV Cannulation Pack | W548377 | 2027-02 |
| RML506-075 | (DP)Adult Cannulation Pack | W548482 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W548530 | 2027-02 |
| MTK1046-ISK-20B | (DP) Cannulation Pack - UK | W548535 | 2027-02 |
| RML506-166 | (DP)IV Pack Option 2 with leaflet | W548653 | 2027-02 |
| RML506-075 | (DP)Adult Cannulation Pack | W548654 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W548690 | 2027-02 |
| RML506-118 | (DP) Adult Cannulation Pack | W548748 | 2026-11 |
| RML102-225 | (DP) Adult IV Insertion Pack | W548803 | 2026-11 |
| RML102-225 | (DP) Adult IV Insertion Pack | W548886 | 2027-03 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W548957 | 2027-02 |
| RMT0990 | (DP) Arterial pack | W549015 | 2027-02 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W549121 | 2026-11 |
| RML506-118 | (DP) Adult Cannulation Pack | W549178 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W549205 | 2027-03 |
| RML112-193 | (DP) Cannulation Pack | W549250 | 2027-03 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W549315 | 2027-02 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W549472 | 2027-02 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W549536 | 2027-02 |
| RML506-075 | (DP)Adult Cannulation Pack | W549660 | 2026-11 |
| RML506-118 | (DP) Adult Cannulation Pack | W549671 | 2026-11 |
| RML500-001 | (DP) IV Cannulation Pack | W549718 | 2027-02 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W549717 | 2027-01 |
| RML506-153 | (DP) IV Pack | W549776 | 2026-08 |
| RML506-118 | (DP) Adult Cannulation Pack | W549915 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W549967 | 2027-02 |
| RML506-153 | (DP) IV Pack | W549966 | 2026-08 |
| RMT0990 | (DP) Arterial pack | W549965 | 2027-02 |
| RML506-118 | (DP) Adult Cannulation Pack | W550321 | 2026-11 |
| RML102-225 | (DP) Adult IV Insertion Pack | W551022 | 2027-04 |
| RML102-225 | (DP) Adult IV Insertion Pack | W551097 | 2027-04 |
| RML506-118 | (DP) Adult Cannulation Pack | W550897 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W551109 | 2027-03 |
| MTK1046-ISK17K | (DP) Blood Culture Kit, w Kurin, for BD Bottles | W551209 | 2026-07 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W551325 | 2027-03 |
| MTK1046-ISK17K | (DP) Blood Culture Kit, w Kurin, for BD Bottles | W551326 | 2026-07 |
| RML506-118 | (DP) Adult Cannulation Pack | W551373 | 2027-04 |
| RML506-075 | (DP)Adult Cannulation Pack | W551369 | 2027-04 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W551432 | 2027-04 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W551485 | 2027-04 |
| RML102-225 | (DP) Adult IV Insertion Pack | W551519 | 2027-04 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W551559 | 2027-04 |
| RML506-166 | (DP)IV Pack Option 2 with leaflet | W551596 | 2027-04 |
| RML506-075 | (DP)Adult Cannulation Pack | W551633 | 2027-04 |
| RML506-251 | (DP) Blood Culture Pack | W551679 | 2026-06 |
| RML102-225 | (DP) Adult IV Insertion Pack | W551724 | 2027-04 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W551783 | 2027-05 |
| RML506-118 | (DP) Adult Cannulation Pack | W551828 | 2027-04 |
| RML500-001 | (DP) IV Cannulation Pack | W551827 | 2027-04 |
| RML506-166 | (DP)IV Pack Option 2 with leaflet | W551825 | 2027-04 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W551894 | 2027-05 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W551918 | 2027-05 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W551964 | 2027-05 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W552003 | 2026-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W552098 | 2027-05 |
| RML506-251 | (DP) Blood Culture Pack | W552142 | 2026-07 |
| RML506-118 | (DP) Adult Cannulation Pack | W552140 | 2027-04 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W552177 | 2027-05 |
| RML101-223 | (DP) Blood Culture pack | W552220 | 2027-05 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W552261 | 2027-05 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W552336 | 2027-05 |
| RML102-225 | (DP) Adult IV Insertion Pack | W552223 | 2027-05 |
| RML506-118 | (DP) Adult Cannulation Pack | W552378 | 2027-04 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W552417 | 2027-05 |
| RML500-001 | (DP) IV Cannulation Pack | W552457 | 2027-05 |
| RML101-223 | (DP) Blood Culture pack | W552458 | 2027-07 |
| RML506-240 | (DP) AW PVC Cannulation Procedure Pack | W552460 | 2027-05 |
| RML506-239 | (DP) AW Blood Culture Procedure Pack | W552459 | 2026-06 |
| RML506-044 | (DP) Blood Culture Pack | W552506 | 2026-06 |
| RML506-075 | (DP)Adult Cannulation Pack | W552507 | 2027-04 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W552545 | 2027-05 |
| RMT0990 | (DP) Arterial pack | W552636 | 2027-06 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W552638 | 2027-04 |
| RML506-118 | (DP) Adult Cannulation Pack | W552550 | 2027-04 |
| MTK1046-ISK17K | (DP) Blood Culture Kit, w Kurin, for BD Bottles | W552689 | 2026-07 |
| RML506-044 | (DP) Blood Culture Pack | W552699 | 2026-06 |
| MTK1046-ISK-20B | (DP) Cannulation Pack - UK | W552686 | 2026-12 |
| RML102-225 | (DP) Adult IV Insertion Pack | W552796 | 2027-04 |
| RML506-153 | (DP) IV Pack | W552856 | 2026-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W552814 | 2027-04 |
| RML506-250 | (DP) AW Paediatric Blood Culture Procedure Pack | W552871 | 2026-09 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W553008 | 2027-04 |
| RML506-139 | (DP) AW Blood Culture Pack | W553068 | 2026-06 |
| MTK1046-ISK17K | (DP) Blood Culture Kit, w Kurin, for BD Bottles | W553066 | 2026-08 |
| RML101-223 | (DP) Blood Culture pack | W553116 | 2027-06 |
| RML506-118 | (DP) Adult Cannulation Pack | W553200 | 2027-04 |
| RML506-044 | (DP) Blood Culture Pack | W553199 | 2026-06 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W553320 | 2027-05 |
| RML101-366 | (DP)Blood Culture pack | W553487 | 2026-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W553488 | 2027-05 |
| RML506-075 | (DP)Adult Cannulation Pack | W553511 | 2027-04 |
| RML102-225 | (DP) Adult IV Insertion Pack | W553651 | 2027-08 |
| RML102-225 | (DP) Adult IV Insertion Pack | W553684 | 2027-08 |
| MTK1046-ISK23 | (DP) Blood Culture Kit | W553691 | 2026-09 |
| RML506-166 | (DP)IV Pack Option 2 with leaflet | W553722 | 2027-05 |
| RML506-251 | (DP) Blood Culture Pack | W553753 | 2026-09 |
| RML506-075 | (DP)Adult Cannulation Pack | W553794 | 2027-04 |
| RML506-118 | (DP) Adult Cannulation Pack | W553853 | 2027-04 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W553854 | 2027-05 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W553898 | 2027-05 |
| RML101-220 | (DP)Adult Peripheral IV Cannulation Pa | W553944 | 2026-06 |
| MTK1046-ISK17K | (DP) Blood Culture Kit, w Kurin, for BD Bottles | W553980 | 2026-07 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W554018 | 2027-05 |
| MTK1046/ISK-18 | (DP) Blood Culture Kit | W554022 | 2027-03 |
| RML102-225 | (DP) Adult IV Insertion Pack | W554141 | 2027-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W554107 | 2027-05 |
| RML506-019 | (DP)Peripheral Blood Culture Pack | W554106 | 2026-06 |
| RML102-225 | (DP) Adult IV Insertion Pack | W554065 | 2027-08 |
| RML506-139 | (DP) AW Blood Culture Pack | W554064 | 2026-08 |
| RML506-141 | (DP) Cannulation Pack | W554262 | 2026-09 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W554265 | 2027-05 |
| RML506-133 | (DP) Blood Culture Pack | W554361 | 2026-06 |
| RML506-118 | (DP) Adult Cannulation Pack | W554402 | 2027-04 |
| RML500-001 | (DP) IV Cannulation Pack | W554401 | 2027-05 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W554488 | 2027-05 |
| RML506-251 | (DP) Blood Culture Pack | W554530 | 2026-09 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W554568 | 2027-05 |
| MTK1046/ISK-18 | (DP) Blood Culture Kit | W554572 | 2027-06 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W554711 | 2027-05 |
| RML506-118 | (DP) Adult Cannulation Pack | W554762 | 2027-04 |
| RML506-139 | (DP) AW Blood Culture Pack | W554802 | 2026-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W554916 | 2027-05 |
| RML506-118 | (DP) Adult Cannulation Pack | W554965 | 2027-04 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W555011 | 2027-05 |
| RML506-044 | (DP) Blood Culture Pack | W555010 | 2026-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W555052 | 2027-05 |
| RML506-075 | (DP)Adult Cannulation Pack | W555050 | 2027-04 |
| RML506-019 | (DP)Peripheral Blood Culture Pack | W555092 | 2026-06 |
| RML101-220 | (DP)Adult Peripheral IV Cannulation Pa | W555136 | 2026-07 |
| MTK1046-ISK23 | (DP) Blood Culture Kit | W555170 | 2026-08 |
| RML506-044 | (DP) Blood Culture Pack | W555213 | 2026-08 |
| RML101-366 | (DP)Blood Culture pack | W555244 | 2026-08 |
| RMT0990 | (DP) Arterial pack | W555367 | 2027-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W555617 | 2027-09 |
| RML102-225 | (DP) Adult IV Insertion Pack | W555688 | 2027-09 |
| RML506-019 | (DP)Peripheral Blood Culture Pack | W555724 | 2026-06 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W555777 | 2027-09 |
| RML000-400 | (DP) Blood Culture Pack | W555728 | 2026-06 |
| RML506-133 | (DP) Blood Culture Pack | W555918 | 2026-07 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W555899 | 2027-09 |
| RML506-118 | (DP) Adult Cannulation Pack | W555898 | 2027-04 |
| MTK1046-ISK23 | (DP) Blood Culture Kit | W555896 | 2026-10 |
| RML506-251 | (DP) Blood Culture Pack | W556030 | 2026-10 |
| RML101-223 | (DP) Blood Culture pack | W556088 | 2027-09 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W556126 | 2027-09 |
| RML102-225 | (DP) Adult IV Insertion Pack | W556162 | 2027-09 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W556210 | 2027-09 |
| RML506-141 | (DP) Cannulation Pack | W556209 | 2026-10 |
| RML506-166 | (DP)IV Pack Option 2 with leaflet | W556286 | 2027-08 |
| RML506-075 | (DP)Adult Cannulation Pack | W556290 | 2027-04 |
| RML506-118 | (DP) Adult Cannulation Pack | W556337 | 2027-04 |
| MTK1046-ISK-20B | (DP) Cannulation Pack - UK | W556334 | 2027-08 |
| RML102-225 | (DP) Adult IV Insertion Pack | W556384 | 2027-10 |
| THR01-25-080 | (DP) ANTT Cannula Pack - Double Lumen | W556509 | 2027-10 |
| THR01-25-080(1) | (DP) ANTT Cannula Pack - Single Lumen | W556510 | 2027-10 |
| RML112-193 | (DP) Cannulation Pack | W556426 | 2027-09 |
| RML506-139 | (DP) AW Blood Culture Pack | W556436 | 2026-08 |
| MTK1046-ISK-20B | (DP) Cannulation Pack - UK | W556564 | 2027-08 |
| RML506-019 | (DP)Peripheral Blood Culture Pack | W556565 | 2026-06 |
| RML500-001 | (DP) IV Cannulation Pack | W556566 | 2027-09 |
| RML506-251 | (DP) Blood Culture Pack | W556614 | 2026-12 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W556615 | 2027-09 |
| RML506-166 | (DP)IV Pack Option 2 with leaflet | W556660 | 2027-09 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W556781 | 2027-09 |
| RML506-044 | (DP) Blood Culture Pack | W556740 | 2026-08 |
| RML506-118 | (DP) Adult Cannulation Pack | W556830 | 2027-04 |
| RML506-251 | (DP) Blood Culture Pack | W556827 | 2026-12 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W556957 | 2027-09 |
| RML102-225 | (DP) Adult IV Insertion Pack | W556987 | 2027-10 |
| RML101-220 | (DP)Adult Peripheral IV Cannulation Pa | W557028 | 2026-07 |
| RML506-189 | (DP) Paediatric IV Pack | W557026 | 2027-09 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W557060 | 2027-09 |
| RML506-139 | (DP) AW Blood Culture Pack | W557106 | 2026-08 |
| RML506-153 | (DP) IV Pack | W557150 | 2026-08 |
| RML506-118 | (DP) Adult Cannulation Pack | W557210 | 2027-04 |
| RML102-225 | (DP) Adult IV Insertion Pack | W557247 | 2027-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W557287 | 2027-09 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W557356 | 2027-11 |
| RML112-193 | (DP) Cannulation Pack | W557392 | 2027-11 |
| RML102-225 | (DP) Adult IV Insertion Pack | W557486 | 2027-11 |
| RML102-225 | (DP) Adult IV Insertion Pack | W557556 | 2027-09 |
| MTK1046/ISK-18 | (DP) Blood Culture Kit | W557651 | 2027-06 |
| RML101-366 | (DP)Blood Culture pack | W557748 | 2026-09 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W557749 | 2027-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W557697 | 2027-11 |
| RML101-220 | (DP)Adult Peripheral IV Cannulation Pa | W557792 | 2026-11 |
| RML506-133 | (DP) Blood Culture Pack | W557791 | 2026-09 |
| RML506-075 | (DP)Adult Cannulation Pack | W557871 | 2027-08 |
| RML506-118 | (DP) Adult Cannulation Pack | W557873 | 2027-11 |
| RML506-141 | (DP) Cannulation Pack | W557872 | 2027-01 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W557919 | 2027-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W557954 | 2027-11 |
| RML500-001 | (DP) IV Cannulation Pack | W557981 | 2027-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W558015 | 2027-11 |
| RML506-139 | (DP) AW Blood Culture Pack | W558105 | 2026-09 |
| RML506-118 | (DP) Adult Cannulation Pack | W558180 | 2027-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W558218 | 2027-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W558293 | 2027-08 |
| RML102-212 | (DP) Paediatric IV Pack | W558394 | 2027-11 |
| MTK1046-ISK-20B | (DP) Cannulation Pack - UK | W558473 | 2027-12 |
| RML101-220 | (DP)Adult Peripheral IV Cannulation Pa | W558476 | 2026-11 |
| RML101-220 | (DP)Adult Peripheral IV Cannulation Pa | W558610 | 2026-11 |
| RML506-044 | (DP) Blood Culture Pack | W558780 | 2026-10 |
| RML506-251 | (DP) Blood Culture Pack | W558781 | 2027-01 |
| RML506-075 | (DP)Adult Cannulation Pack | W558825 | 2027-09 |
| RML506-139 | (DP) AW Blood Culture Pack | W558979 | 2027-01 |
| RML506-133 | (DP) Blood Culture Pack | W559145 | 2027-02 |
| RML506-157 | (DP) Cannulation Pack | W559233 | 2027-11 |
| MTK1046-ISK17K | (DP) Blood Culture Kit, w Kurin, for BD Bottles | W559479 | 2027-05 |
| RML506-044 | (DP) Blood Culture Pack | W559480 | 2027-01 |
| RML506-133 | (DP) Blood Culture Pack | W559526 | 2027-02 |
| RML101-220 | (DP)Adult Peripheral IV Cannulation Pa | W559529 | 2026-11 |
| RML506-075 | (DP)Adult Cannulation Pack | W559645 | 2027-09 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W559735 | 2027-12 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W559769 | 2027-12 |
| RML506-166 | (DP)IV Pack Option 2 with leaflet | W559810 | 2027-12 |
| RML102-225 | (DP) Adult IV Insertion Pack | W559809 | 2027-12 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W559896 | 2027-12 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W559941 | 2027-12 |
| RML102-225 | (DP) Adult IV Insertion Pack | W559945 | 2027-12 |
| RML101-220 | (DP)Adult Peripheral IV Cannulation Pa | W559946 | 2026-11 |
| RML506-153 | (DP) IV Pack | W559944 | 2027-12 |
| RML506-139 | (DP) AW Blood Culture Pack | W560128 | 2027-01 |
| RMT1698 | (DP)Blood Culture Pack | W560083 | 2027-02 |
| RML506-075 | (DP)Adult Cannulation Pack | W560082 | 2027-08 |
| RML101-366 | (DP)Blood Culture pack | W560322 | 2027-01 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W560368 | 2027-10 |
| RML506-075 | (DP)Adult Cannulation Pack | W560324 | 2027-11 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W560439 | 2027-10 |
| RML112-193 | (DP) Cannulation Pack | W560370 | 2027-10 |
| RML506-251 | (DP) Blood Culture Pack | W560491 | 2027-03 |
| RML506-044 | (DP) Blood Culture Pack | W560490 | 2027-01 |
| RML506-075 | (DP)Adult Cannulation Pack | W560920 | 2027-11 |
| RML506-139 | (DP) AW Blood Culture Pack | W560971 | 2027-02 |
| RML101-220 | (DP)Adult Peripheral IV Cannulation Pa | W560972 | 2026-11 |
| RML506-044 | (DP) Blood Culture Pack | W561067 | 2027-02 |
| RML506-044 | (DP) Blood Culture Pack | W561241 | 2027-02 |
| MTK1046-ISK17K | (DP) Blood Culture Kit, w Kurin, for BD Bottles | W561433 | 2027-07 |
| RMT0990 | (DP) Arterial pack | W561536 | 2027-08 |
| RML506-040 | (DP)AW PVC Cannulation Pack | W561538 | 2028-04 |
| RML506-139 | (DP) AW Blood Culture Pack | W561856 | 2027-02 |
| RML506-251 | (DP) Blood Culture Pack | W562394 | 2027-03 |

Appendix 1