## Direct Supplier Product Matrix
Angiography and Hybrid Theatre Equipment and Related Services
Product Matrix
Issued | 2024-08-09
Product information and supplier names are correct at the time of publication. Where sub categories relate to a product, the name of the product has been provided; where subcategories relate to service provision, we have stated "service package available" - further detail can be provided on request.
Sub Category | Ergea UK and Ireland Limited | Canon Medical Systems | GE Medical Systems | InHealth | Medecon Healthcare | Medtronic | Philips Electronics UK Ltd | Siemens Healthcare
Single Plane, Flat Panel Detector Vascular Angiography Imaging System |  | Alphenix Core | GE Innova IGS 540 with AutoRight |  |  |  | Azurion 5 F20 | Artis Q Floor Interventional Radiology
|  | Alphenix Core+ | GE Allia IGS 740 IR with AutoRight |  |  |  | Azurion 5 C20 | Artis Q Ceiling Interventional Radiology
|  | Alphenix 4DCT | GE Innova IGS 530 with AutoRight |  |  |  | Azurion 7 F20
|  | Alphenix Sky |  |  |  |  | Azurion 7 C20
|  | Alphenix Sky+ |  |  |  |  | Azurion 7 FlexMove
Azurion 5 F20 Catalyst
Azurion 5 C20 Catalyst
Azurion 7 F20 Catalyst
Azurion 7 C20 Catalyst
Single Plane, Flat Panel Detector Cardiac Angiography Imaging System |  | Alphenix Core+ | GE Innova IGS 520 with AutoRight |  |  |  | Azurion 7 F12 | Artis Q Floor Interventional Cardiology
|  | Alphenix Sky | GE Allia IGS 730 IR with AutoRight |  |  |  | Azurion 5 C12 | Artis Q Ceiling Cardiac
|  |  | GE Innova IGS 530 with AutoRight |  |  |  | Azurion 7 C12
Azurion 5 C12 Catalyst
Azurion 7 F12 Catalyst
Azurion 7 C12 Catalyst
Bi-Plane, Flat Panel Detector Cardiac Angiography System |  |  | GE Innova IGS 620 with AutoRight |  |  |  | Azurion 7 B1212 | Artis Q Biplane Interventional Cardiology
[7 empty] | Azurion 7 B2012 | Artis Q.zen Biplane Interventional Cardiology
[7 empty] | Azurion 7 B1212 Catalyst | Artis icono Biplane Interventional Cardiology
Azurion 7 B2012 Catalyst
Bi-Plane, Flat Panel Detector Neuro-Angiography System |  | Alphenix BiPlane | GE Innova IGS 620 with AutoRight |  |  |  | Azurion 7 B2015 | Artis Q Biplane Neuro Radiology
Azurion 7 B2015 Catalyst
Cardiac Catheterisation Physiological Monitoring System |  | QMAPP Haemodynamic Monitoring System | Haemodynamic Monitoring System |  |  |  | Philips Hemo System with IntelliVue X3 | Sensis Vibe Combo
GE ComboLab AltiX
Design, Installation and Commissioning of an Hybrid Operating Theatre |  | Alphenix Hybrid+ | GE Allia |  |  |  | Azurion 7 FlexArm Hybrid | ARTIS pheno Floor Surgery
ARTIS icono Floor Surgery
ARTIS Q Ceiling Surgery
Angiography Managed Service | Service Package Available |  | Service Package Available | Service Package Available | Service Package Available | Service Package Available | Service Package Available | Service Package Available
Mobile Cardiac Catheterisation Unit |  |  | Service Package Available |  | Service Package Available |  | Service Package Available | Service Package Available
Outsourcing of Angiography and Cardiac Catheterisation Laboratory Services |  |  | Service Package Available |  | Service Package Available | Service Package Available | Service Package Available