## Sheet1
Mobile X-Ray
Product Matrix
Updated 20 November 2025
Product information and supplier names are correct at the time of publication.
Specification | AGFA | ALXR | Arcadia | Celtic | Esaote | Fuji | GE MEDICAL SYSTEMS LTD. | HSL | Medray | MI Healthcare | Mindray UK | MIS Healthcare | Philips Electronics UK Ltd. | Siemens Healthineers | Wolverson | Xograph
Mobile Digital Radiographic X-Ray System | DR100e | PLX5100 | PLX5200A | Amadeo M-DR mini - XenOR 35-100WF | M40-1A | FDR nano Mobile D-EVO ES C35 | AMX 240 | Shimadzu Evolutions MX8 with Canon CXDI - 710 Detector | DRX Revolution Nano | Rafale B32DDR 32KW Motorised Mobile | MobiEye 700 | Topaz | wDR MobileDiagnost R2.2 Performance | Mobilett Elara Max with detector 11107444 | MAC 32D (VAREX PANEL) | DRGo Lightweight Mobile X-ray system
| DR100s | PLX5200 | PLX5200 | Amadeo M-DR mini - Varex XRpad2 4336 |  | FDR nano Mobile D2 C24 | AMX Navigate | Shimadzu Mobile Evolution MX8 with Canon CXDI-810C detector - type C | DRX Revolution | Rafale B40DDR 40KW Motorised Mobile |  | Jade | wDR MobileDiagnost R2.2 Lite |  | ACCORD 32 | M1 Mobile
|  | PLX5200A |  |  |  | FDR nano Mobile D2 C35 |  | Shimadzu Mobile Evolution MX8 with Canon CXDI-410C detector - type C |  |  |  | GM85 AccE | Radiography 7000M Pro-essential |  | ACCORD DR/B4 | Mobirex i9 with CXDI-720CW
[6 empty] | FDR Go PLUS Mobile D2 C35 |  | Shimadzu Mobile Evolution MX8 with Canon CXDI-710C & 810C detectors type C |  |  |  | GM85 FIT | Radiography 7000M Pro-Paediatric |  | ACCORD DR/BC | Mobirex i9 with CXDI-703CW
[6 empty] | FDR Go PLUS Mobile D2 C24 |  | Shimadzu Mobile Dart Evolution with Konica AeroDR 1417HD detector |  |  |  | GM85 FIT ND
[6 empty] | FDR Go PLUS Mobile D2 G35 |  | Shimadzu Mobile Dart Evolution with Konica AeroDR 1012HQ(3rd Gen) detector
[6 empty] | FDR Xair |  | Shimadzu Mobile Dart Evolution with Konica AeroDR 1717HD detector
[6 empty] | FDR nano Mobile D-EVO ES C24 |  | Shimadzu Mobile Dart Evolution with Konica AeroDR 1417HD & AeroDR 1012HQ(3rd Gen) detectors
[6 empty] | FDR Go PLUS Mobile D3 C35 |  | Konica Minolta Aero DRX10 Mobile x-ray system with Konica HD 24cm x 30cm Detector
[6 empty] | FDR Go PLUS Mobile D3 C24 |  | Konica Minolta Aero DRX10 Mobile x-ray system with Konica HD 35cm x43cm Detector
[6 empty] | FDR Xair D3 C35 |  | Konica Minolta Aero DRX10 Mobile x-ray system with Konica HD 43cm x43cm Detector
[6 empty] | FDR Xair D3 C24 |  | OR Technology Amadeo M-DR mini mobile x-ray system
FDR nano Mobile D3 C35
FDR nano Mobile D3 C24
FDR Xair D2 C24
FDR Xair+Connectivity D3 C35
FDR Cross Body Only
FDR Go iQ Mobile - D3 C25
FDR Go iQ Mobile - D3 C35
Mobile Radiographic X-Ray System | DR100e | [5 empty] | AMX 200 | Shimadzu Mobile Art Eco 12.5kW |  | Rafale B32 32KW Motorised Mobile |  | GM85 No Detector |  |  | MAC R32
| DR100s | [6 empty] | Shimadzu MobileArt Evolution MX7 |  | Rafale B40 40KW Motorised Mobile
Mobile Digital Radiographic X-Ray System (no detector) | DR100e |  | PLX101 |  |  | FDR Go PLUS Mobile | AMX 240 (No Detector) |  | DRX Revolution | Rafale B32DR 32KW Motorised Mobile |  | GM85 No Detector | wDR MobileDiagnost R2.2 | Mobilett Elara Max with out detector 11107444 |  | M1 DR Mobile
| DR100s |  |  |  |  | FDR nano Mobile |  |  |  | Rafale B40DR 40KW Motorised Mobile |  |  | Radiography 7000M Pro-essential no detector | Mobilett Impact
FDR Go iQ Mobile (Body Only)