## Electrosurgical Equipment
Operating Theatres Equipment and Related Accessories and Services
Product Matrix
Issued | 2024-09-10
Product information and supplier names are correct at the time of publication.
Specification | ConMed UK Ltd | Erbe Medical UK Ltd | Ideal Medical Solutions | Johnson & Johnson Medical Ltd | KARL STORZ Endoscopy (UK) Ltd | Olympus (Keymed) | Medtronic Limited | OscarTech UK Ltd | Richard Wolf UK Ltd | Ryna Medical UK Ltd | SRA Developments | Starkstrom Limited | Surgical Holdings
Electrosurgical Machine | SYSTEM 2450 ESU | VIO 300 S Variation 1 no Endocut |  | Megadyne Electrosurgical Generator | AUTOCON III 400 CE, 220-240V | ESG-150 WITH WIRED FOOTSWITCH AND CABLES | VLFT10 | ZEUS-400 | HF SURGERY GENERATOR | SURTRON 80 | ARC 250 | Maxium Smart C | Bovie Specialist
| SYSTEM 5000 ESU | VIO 100 C |  |  |  | ESG-410 ELECTROSURGICAL GENERATOR | VLFX8 | ZEUS-80 |  | Surtron 50D | ARC 303 | ME 102 | Bovie SurgiCenter
| SABRE GENESIS ESU 230V | VIO 3 (5 Socket) |  |  |  | ESG-400 ELECTROSURGICAL GENERATOR |  | ZEUS-100 |  | Surtron 80D | ARC 350 | Maxium | Bovie Bantam
| HELIXAR ESU | VIO 3 (4 Socket) |  |  |  | ESG-200 CELON ELITE GENERATOR ERBE |  | ZEUS-150 |  | Surtron 120 | ARC 400 |  | Bovie DERM 942
| BEAMER MATE ESU | VIO 3 (3 Socket) |  |  |  | ESG-200 CELON ELITE GENERATOR VLAB |  | ZEUS-200S |  | Surtron 160 | ARC Type I
| BEAMER PLUS ARGON |  |  |  |  | ESG-300 ELECTROSURGICAL GENERATOR |  | ZEUS-200 |  | Surtron 200 | ARC Type II
[6 empty] | ESG-410 + WIRELESS FOOTSWITCH + POWER CABLE |  | ZEUS-300 |  | Surtron Touch 200 | ARC Type III
[6 empty] | ESG-410 + WIRED FOOTSWITCH + POWER CABLE |  | ZEUS VISION |  | Surtron Flash 120 | ARC Type IV
[6 empty] | ESG-150 ELECTROSURGICAL GENERATOR |  | ZEUS PRIME |  | Surtron Flash 200 | ARC Type V
[6 empty] | ESG-300 WITH WIRELESS FOOTSWITCH AND TROLLEY |  |  |  | Surtron Flash 160 HF
[6 empty] | ESG-300 + WIRED FOOTSWITCH ONLY |  |  |  | Surtron 300 HP
[6 empty] | ESG-300 WITH APU-300 + WIRELESS FOOTSWITCH - UK |  |  |  | Surtron 400 HP
[6 empty] | ESG-300 WITH APU-300 + WIRED FOOTSWITCH |  |  |  | Surtron ABC Argon Unit
[6 empty] | ESG-300 WITH WIRED FOOTSWITCH AND TROLLEY |  |  |  | Surtron Touch HP 300
[6 empty] | ESG-300 WITH WIRELESS FOOTSWITCH AND CABLES |  |  |  | Surtron Touch HP 50D
[6 empty] | APU-300 ARGON PLASMA UNIT |  |  |  | Surtron Touch HP 80D
Surtron Touch HP 400
Surtron Touch HP 200

## ASMS
Operating Theatres Equipment and Related Accessories and Services
Product Matrix
Issued 10 September 2024
Product information and supplier names are correct at the time of publication.
Specification | Bender UK Ltd | Brandon Medical Company Ltd | DP Medical Systems Ltd | Draeger Medical UK Ltd | Fulbourn Medical | Getinge Ltd | Hillrom Ltd | Howorth Air Technology Ltd | KARL STORZ Endoscopy (UK) Ltd | Ryna Medical UK Ltd | Starkstrom Limited | Steris Solutions Ltd | Stryker UK Ltd
Theatre Lights Fixed | Q4v/Q4v Dual Cardanic Twin Arm LED Operating Light and PSU | Quasar eLite Ceiling Mounted Operating Light | Fixed Theatre Lighting_Medifa H!Light single | Polaris 600 Light | SimLED7000/5000MC | MAQUET POWERLED II | TruLight 5300 |  | LEDVISION | Mach LED300DF-SC Mobile | MarLED E9i (160,000lux) D Operating Light | 2 XLED DUAL CARDANIC 3-SPOT | SLX 528 Dual Set
| Ceiling Mounted Q4 |  |  |  |  | Volista |  |  |  |  | MarLED X (160,000lux) D Operating Light
Ceiling Mounted Q6
Theatre Lights Mobile | Q4 Mobile | Quasar eLite Mobile Operating Theatre Light | Mobile Theatre Lighting_Medifa H!Light mobile | Polaris 600 Mobile Light | SimLED5000SCmobile | ROL PWDII70SF K3 B | TruLight 3500 Mobile |  | LEDVISION | Mach LED300DF-SC Mobile | MarLED E9i (160,000lux) M Operating Light | Mobile X-LED
| Q6 Mobile | [9 empty] | MarLED X (160,000lux) M Operating Light
Theatre Pendants Fixed | Rigid Pendant | Brandon Atlas Rigid Medical Gas Pendant |  | Ambia Fixed | SimCarry50 | MODUEVO SLIM | TruPort Solo | Independant Fix Ceiling | Orbiter |  | S100 Rigid Pendant Starkstrom Ref. S100 | STERIS Fixed Pendant AIRport
Theatre Pendants Multi-Move | Solido Tandem Dual Articulating Arm with Lateral Movement Pendant (600+600/800+800) | Brandon Atlas Medical Gas Pendant as per drawing BMGP3072P1 |  | Ambia | SimCarry250 | MODUEVO LIGHT CEILING PENDANT 2 BEAM | Truport 5000 Multi Arm | IDP | Orbiter |  | S500 Twin Articulated Pendant Starkstrom Ref. S400-SD-8-8-8/S400-SD-8-8-8 | STERIS Multi Move Pendant AIRport
Theatre Control Panels | CP924 | Brandon Intelligent Touchscreen Control Panel | [8 empty] | 17” eTCP Membrane Touch Screen Theatre Control Panel – Front Access
Ultra Clean Ventilation (UCV) Canopies |  | Brandon Medical UCV Canopy | [5 empty] | Exflow 28 EVOLUTION Screenless UCV

## Medical Lasers
Operating Theatres Equipment and Related Accessories and Services
Product Matrix
Issued | 2024-09-10
Product information and supplier names are correct at the time of publication.
Specification | Boston Scientific | Carlton Medical | Coloplast | Cook | Hospital Services Ltd | Ideal Medical | Ingles Ltd | KeyMed | Lynton Lasers | NJ Devices Ltd t/a Ocean Med | Novus Med Ltd | Promed Ltd | Richard Wolf UK ltd | Soluvos Medical Ltd
Urology - Stones | Pulse 120 H Moses |  | Coloplast TFL Drive | Cyber Ho 150 | Thulio YAG Laser 100w |  | Lithobox zero | EMPOWER H35W HOLMIUM LASER SYSTEM ROW | MH01 Holmium Laser |  | LASERCLAST® 35 |  | MegaPulse 70+ holmium:YAG laser
| Pulse 120 H Moses 2.0 |  |  | Litho 30 |  |  | Lithobox | EMPOWER H100W HOLMIUM LASER SYSTEM ROW | SIRIUS |  |  |  | PULVIS 60+
| Pulse 60 H Moses |  |  | Litho 35 |  |  | Hypho Holmium 35 Watt Laser | SOLTIVE PREMIUM LASER SYSTEM | HEMERA
| Pulse 30 H |  |  | Litho Evo 35 |  |  |  | SOLTIVE PRO LASER SYSTEM
|  |  |  | Cyber Ho 60 |  |  |  | EMPOWER H65W HOLMIUM LASER SYSTEM ROW
Cyber Ho 100
Fiber Dust
Urology - Soft Tissue | Greenlight XPS |  | Coloplast TFL Drive | Cyber Ho 150 | Thulio YAG Laser 100w |  | Hypho Holmium 35 Watt Laser | EMPOWER H65W HOLMIUM LASER SYSTEM ROW | MH01 Holmium Laser |  | MultiPulse 100w / 75Hz | Leonardo DUAL 45w | MegaPulse 70+ holmium:YAG laser
| Pulse 120 H Moses 2.0 |  |  | Litho 30 |  |  |  | SOLTIVE PREMIUM LASER SYSTEM | SIRIUS |  | MultiPulse 150w / 100Hz | Leonardo Mini DUAL
| Pulse 120 H Moses |  |  | Litho 35 |  |  |  | EMPOWER H100W HOLMIUM LASER SYSTEM ROW | HEMERA |  | MultiPulse 100w / 100Hz | Leonardo DUAL100W
| Pulse 60 H Moses |  |  | Litho Evo 35 | [6 empty] | MultiPulse 80w / 75Hz | Leonardo Mini 1470
|  |  |  | Cyber Ho 60 | [6 empty] | LASERCLAST® THULIUM POWER
Cyber Ho 100
Fiber Dust
Cyber Tm 150
Cyber Tm 200
Surgical - ENT Laser |  | Lumenis AcuPulse DUO 40 Watt CO2 Laser | [6 empty] | SMARTXIDE2 C60 | 40W UNILAS Touch CO2 Laser |  | Leonardo DUAL 45w |  | Nuvolas 514nm Laser
|  | MULTIPULSE PRO DUO 60 Watt CO2 | [6 empty] | SMARTXIDE2 TRIO | 10 Watt Diode Laser DIOLAS Newton Blue |  | Leonardo Mini 1470 |  | TruBlue 445nm Laser
|  | IRIDEX IQ532XP | [6 empty] | SMARTXIDE2 C60H |  |  |  |  | Fox 514nm Laser
|  | MULTIPULSE PRO 40 Watt CO2 | [11 empty] | C-Las Laser (CO2)
InterMedic BlueScan 445nm
MULTIPULSE PRO 60 Watt CO2
Lumenis UltraPulse DUO 80 Watt CO2 Laser
Surgical - General and Gastroenterology | [8 empty] | DIOMAX | 15 W Diode DIOLAS Newton One (1470nm) |  | Leonardo Mini 1470
[9 empty] | DIOMAX 1550 | 15 W Diode DIOLAS Newton One (980nm) |  | Leonardo Mini DUAL
[9 empty] | LIMAX 120 |  |  | Leonardo DUAL 45w
Leonardo DUAL100W
Aesthetics - Ablative Laser | [8 empty] | SmartXide Punto 30W with DOT Scanner |  |  | Leonardo Mini 1470
[9 empty] | SmartXide Punto 50W with DOT Scanner |  |  | Leonardo DUAL 45w
SmartXide Touch 60W with DOT-RF Scanner
Aesthetics - Hair Removal Laser | [8 empty] | EVOLVE
AGAIN Pro
MOTUS AY
MOTUS AX
Aesthetics - Vascular Laser | [8 empty] | EXCELIGHT 585 |  |  | Leonardo Mini 1470
[9 empty] | Synchro VasQ |  |  | Leonardo DUAL 45w
LUMINA 585 IPL
Aesthetics - Tattoo and Pigmentation Laser | [8 empty] | LUMINA-Q
STUDIO
SmartPICO
Aesthetics - Skin Resurfacing Laser | [8 empty] | 3JUVE | 60W UNILAS Touch CO2 Laser |  | Leonardo Mini 1470
[9 empty] | SmartXide Touch 60W with DOT-RF Scanner |  |  | Leonardo DUAL 45w
LUMINA ResurFACE Erbium

## Patient Stretchers and Trolleys
Operating Theatres Equipment and Related Accessories and Services
Product Matrix
Issued | 2024-09-10
Product information and supplier names are correct at the time of publication.
Specification | Acime UK Ltd | Anetic Aid Ltd | Arjo UK Ltd | Bender UK Ltd | Felgains Ltd | Ferno (UK) Ltd | Hillrom Ltd | LINET UK | Newmaw Medical Ltd | Howard Wright | Stryker UK | Xograph Healthcare
Accident and Emergency (A&E) Trolley | Skot Silver 720 AE | QA3™ Emergency Department Stretcher - with Pressure Care Mattress | Lifeguard 55 Trolley and Bi-Flex Mattress | Rapido | PatientFlow X-Ray hydraulic, 2 Sections, 1 joint, with Solace 150 mattress, 1950 x 575mm |  | Trauma Stretcher | Sprint 200 - 2 Section | All Purpose Chair with Radiotranslucent Back 110V-240V | M9 Transfer Stretcher-Four Section Deck | PRIME X FIFTH WHEEL STRETCHER
| Skot Chir 720 ST | QA3™ DRIVE Emergency Department Stretcher - with Pressure Care Mattress | Lifeguard 20 Trolley and Bi-Flex Mattress |  | PatientFlow Trolley, X-Ray Tunnel, hydraulic, 2 Sections, 1 joint |  |  | A&E Sprint 200 2 section with reactive mattress |  | M9 Trauma Stretcher- Two Section Deck
| Skot Pedeatric | QA3™ Treatment Stretcher - with Pressure Care Mattress | Lifeguard 20 Trolley and Bi-Flex Mattress |  | MultiFlow X - 2 sections, X-Ray tunnel |  |  | A&ESprint 200 4 Section |  | M9 Trauma Stretcher- Four Section Deck - Pendant and Nurse handsets – Under Bed Light
| Skot Chir 620 | QA3™ DRIVE Powered Emergency Department Stretcher - with Pressure Care Mattress | Lifeguard 20 Trolley and Bi-Flex Mattress |  |  |  |  | A&E Sprint 200 4 section with reactive mattress
| Skot Chir 720 | QA3™ Powered Emergency Department Stretcher - with Pressure Care Mattress
Skot Silver 620
Skot Silver 720
Skot Silver Ambu 720
Ambulance Trolley | [5 empty] | Pegasus |  |  |  |  | Power-PRO TL
PERFORMANCE-PRO XT
POWER-PRO XT
POWER-PRO 2
Incubator Transport Trolley | [5 empty] | ITU Incubator Transport Trolley
MRI Conditional Patient Trolley | Skiff MRI
Patient Transfer Chair | [5 empty] | Compact 2 Track Chair |  |  | All purpose hydraulic chair |  | STAIR-PRO
XPEDITION
Specialist Imaging Trolley | Skot Fluoroscopy Electrical 720 SPI | QA4™ Mobile Surgery System with Powered Functions - includes Pressure Care Mattress | Lifeguard 50 Trolley and Bi-Flex Mattress |  | ImageFlow Stretcher, 1 joint, 2 sections, 180° rotated |  |  | SPRINT 100 2 Section | Video imaging chair |  | FLUOROSCOPY STRETCHER | Mobile Radiolucent Patient Table
| Skot Fluoroscopy Electrical 620 |  |  |  | ImageFlow, 1 joint, 2 sections |  |  | Sprint 100 4 section | Fluoro-track Fluoroscopy Stretcher |  |  | Variable height inclinable stretcher complete of fixed grid cassette holder sliding under the table-top 150 kg
| Skot Fluoroscopy Hydraulic 720 |  |  |  | ImageFlow, 3 joint, 4 sections | [6 empty] | Fixed height stretcher complete of fixed grid cassette holder sliding under the table-top 150 kg
| Skot Fluoroscopy Electrical 720 |  |  |  | ImageFlow, 3 joint, 4 sections, 180° rotated | [6 empty] | Fixed height stretcher completed of fixed grid cassette holder sliding under the table-top 200 kg
| Skot_Fluoroscopy_Hydraulic_620 |  |  |  | ImageFlow,2 joints, 3 sections, without vertical shift
| Skot XXL |  |  |  | ImageFlow Slimline, 1 joint, 2 sections
ImageFlow Slimline, 3 joint, 4 sections
ImageFlow Slimline, 1 joint, 2 sections, 180° rotated
ImageFlow Slimline, 3 joint, 4 sections, 180° rotated
ImageFlow Slimline,2 joints, 3 sections, without vertical shift
Surgical Trolley | Skot Chir 720 ST | QA4™ Mobile Surgery System with Powered Functions - includes Pressure Care Mattress | Lifeguard 50 Trolley and Bi-Flex Mattress | Rapido | PatientFlow Trolley, hydraulic, 2 Sections, 1 joint |  | Procedural Stretcher | SPRINT 100 2 Section | Eye Surgi-chair, Electric 230V |  | EYE SURGERY STRETCHER
| Skot Ophthalmo |  | Lifeguard 50 Trolley |  |  |  |  | Sprint 100 4 section | Eye Surgery Hydraulic Stretcher
Hydraulic Eye Stretcher X-Wide
Eye Surgery Stretcher Electric 230V
Eye Surgery Stretcher Electric X-wide 230V
Ophthalmic Surgical Chair Electric 240V
Transportation Trolley | Skot 720 TR | QA3™ Patient Stretcher - with Pressure Care Mattress | Lifeguard 20 Trolley and Bi-Flex Mattress | Rapido | BriLfow BariFlow Bariatric Patient Trolley |  | Transport Stretcher | SPRINT 100 2 Section | Horizon Hydraulic Stretcher with Air Glide Rails | M9 Transfer Stretcher- Four Section Deck | PRIME FIFTH WHEEL STRETCHER 26IN
| Skot Pedeatric | QA3™ <800> DRIVE Powered Patient Stretcher - with Pressure Care Mattress |  |  | MultiFlow Ultra Low Trolley 4 Part Profiling |  |  | Sprint 200 2 Section | Horizon X-Wide Hydraulic Stretcher with Air Glide Rails | M9 Transfer Stretcher- Four Section Deck – Pendant and Nurse handsets - Under bed Light | PRIME FIFTH WHEEL ELECTRIC STRETCHER
| Skot 620 | QA3™ DRIVE Patient Stretcher - with Pressure Care Mattress |  |  | Stride Hydraulic CT, 700mm Wide Platform |  |  | Sprint 200 4 Section | Youth Stretcher |  | PRIME FIFTH WHEEL STRETCHER 30"
| Skot 720 | DRIVE Powered Patient Stretcher - with Pressure Care Mattress |  |  | Stride CT, 700mm width, electric Height adjustment |  |  |  | Horizon Hydraulic X-Wide Stretcher with Retracto Rails |  | PRIME BIG WHEEL ELECT STRETCHER
| Skiff 3 720 | QA3™ Ophthalmic Stretcher - with Pressure Care Mattress |  |  | Stride CT - with PowerDrive system |  |  |  | Horizon Bariatric Electric Stretcher 230V |  | PRIME BIG WHEEL STRETCHER 26"
| Skiff 3 520 |  |  |  | PatientFlow Trolley, hydraulic, 4 Sections, 3 joints |  |  |  | All Purpose Chair with Radiotranslucent Back 110V-240V |  | PRIME BIG WHEEL STRETCHER 30"
| Skiff 3 620 |  |  |  | PatientFlow Trolley, electric, 4 Sections, 3 joints |  |  |  | Horizon Hydraulic Stretcher with Retracto Rails, Knee Flex and 16 degree Trendelenburg |  | PRIME ZOOM STRETCHER, ELECTRIC
| Skiff 3 820 |  |  |  | PatientFlow Trolley, electric , 2 Sections, 1 joint |  |  |  | Horizon Hydraulic Stretcher with Air Glide Rails and Knee Flex |  | PRIME ZOOM STRETCHER 26" LITTER
| Wind Skiff | [7 empty] | Horizon Hydraulic Stretcher with Retracto Rails |  | PRIME ZOOM STRETCHER 30" LITTER
[9 empty] | Horizon X-wide Hydraulic Stretcher with Retracto Rails |  | TRANSPORT STRETCHER 26"
30 INCH TRANSPORT
GYNNIE OB-GYN STRETCHER
PRIME X FIFTH WHEEL STRETCHER, POWERED
BIG WHEEL STRETCHER, PRIME X
BIG WHL STRTCHR, PRIME X,PWRD
STRETCHER CHAIR
ST1 STRETCHER CONFIGURED
ST1-X STRETCHER CONFIGURED