## Product Matrix
Radiotherapy Treatment Systems and Associated Options and Related Services
Product Matrix
Issued 25 April 2022
Product information and supplier names are correct at the time of publication.
Specification | Elekta LTD | Oncology Imaging systems LTD | Oncology Systems LTD | Accuray | Varian Medical Systems UK LTD | Carl Zeiss | Boston Scientific | Sirtex | Vertec Scientific Ltd | Viewray, Inc. | Xstrahl LTD
Linear Accelerator (Photon and Electron) with integrated image guidance | Versa HD |  |  |  | Truebeam Edge
| Harmony Pro |  |  |  | Vitalbeam
| Infinity |  |  |  | Truebeam
Linear Accelerator (Photon only) with integrated image guidance and Treatment planning | Versa HD and Monaco |  |  | Radixact X7 System with Synchrony & ClearRT | ETHOS
| Harmony Pro and Monaco |  |  |  | Halcyon
Infinity and Monaco
Superficial Xray Radiation Therapy Treatment system |  | SRT -100 system | T160-conventional x-ray therapy unit 150 kV, ceiling mount, cyrillic package | [7 empty] | Xstrahl 50kV - RADiant Moblie Therapy System
Xstrahl 80kV - RADiant Moblie Therapy System
Xstrahl 100M - X-Ray Therapy system Floor
Xstrahl 150C - Ceiling Rail X-Ray Therapy System
Xstrahl 150F - Floor Rail X-Ray Therapy System
Xstrahl200C - Ceiling Rail X-Ray Therapy System
Xstrahl200F - Floor Rail X-Ray Therapy System
Xstrahl300C - Ceiling Rail X-Ray Therapy System
Xstrahl 300F - Floor Rail X-Ray Therapy System
Brachytherapy PDR (Pulse Dose Rate) afterloader | microSelectron PDR 18ch + Oncentra microselectron 30ch + Oncentra
Brachytherapy HDR Afterloader | Flexitron 40ch System + |  | SagiNova®, HDR Afterloader, 25 channels, for Co-60 and Ir-192 with TPS package |  | Bravos HDR
Oncentra Brachy adv 3D
Flexitron 20 ch. Not including TPS
Flexitron 40. Not including TPS
Stereotactic Radiosurgery (SRS) and Sterotactic Body Radiation Therapy (SBRT) Device | Versa HD SRS |  |  | CyberKnife S7 FIM System
Leksell Gamma Knife Icon (for intracranial SRS only)
Intraoperative Radiation Therapy | [5 empty] | Intrabeam 600 | Y90 THERASPHERE | SIR-Spheres Y90 Resin Microspheres | LIAC HWL 10 MeV
Radiosurgery | Leksell GammaKnife Icon |  |  | CyberKnife S7 FI+ System
MR Guided Radiotherapy Treatment System | Unity | [8 empty] | MRIdian