## Direct Supplier Product Matrix
Rigid Endoscopes and Associated Options and Related Services
Product Matrix
Issued: | 2024-09-12
Product information and supplier names are correct at the time of publication.
Specification | Aquilant Endoscopy (HC12) | Arthrex Ltd | B. Braun Medical Li | ConMed | DP Medical Systems | Healthcare 21 (UK) Ltd | KARLSTORZ Endoscopy | Olympus KeyMed | LiteOptics Ltd | Medtronic Limited | Novus Med Ltd | Richard Wolf UK Ltd | RB Medical | Smith&Nephew | Stryker UK Ltd
Camera Stack | Angled camera head | 4K SynergyUHD4 | FULL HD CMOS CAMERA CONTROL UNIT | TRINITY 4K | EndoSTROBE E | FULL-HD ENDOSCOPY CAMERA,1CHIP,TEKNO CAM1000HD, PAL/NTSC, WI | IMAGE1 PILOT | OTV-S400 VISERA 4K UHD | Ecleris Procam HD with P/S and Coupler | VS3 IR SYSTEM 174-0012 FLRSENCE MMS | FlexiVision 10 Controler Full HD Image Capture | FLEX HD CAMERA CONTROLLER BNDL | HD Camera and LED stack system inc.printer | LENS 4K INTEGRATED SYSTEM WIFI VERSION | 1588
|  | HD SynergyUHD4 | XENON | TRUE HD 3MOS | Matrix PL | ENDOSCOPY CAMERA, 1-CHIP, TEKNOCAM | IMAGE1 S CONNECT | TC-C3 SET 3 |  | 95-3980 CONTROLLER 4K UHD | Flexilux 300LED | LOGIC HD CAMERA CONTROLLER BNDL | HD Camera and LED stack system excl.printer | 4K WirelessOR TX/RX DPH AND USB CABLE | 1688
|  | 4K SynergyID | EINSTEINVISION |  | MATRIX Spectar P | FULL HD ENDOSCOPY CAMERA CONTROL UNIT NEXO WITH CAPTURE AND LIGHT SOURCE INCL OBJECTIVE AND FIBER OPTIC CABLE | IMAGE1 S H3-LINK | CH-S200-XZ-EA HD 3CMOS |  | CAMERA CONTROL UNIT 95-3930 IM CAPTURE |  | LOGIC 4K CAMERA CONTROLLER BNDL |  | LENS 4k CCU system kit | 1788
[7 empty] | Cold Light Fountain | CLV-S400 VISERA 4K UHD |  |  |  | LOGIC 4K CAMERA CONTROLLER |  | IMAGE MANAGEMENT SYSTEM 660HD-E | PINPOINT
[7 empty] | IMAGE1 S 4U RUBINA, OPAL1 NIR/ICG | HD IMAGING SYSTEM WITH MEDIA STORAGE |  |  |  | 3D-ENDOSCOPE BNDL |  |  | PRECISION
[8 empty] | VISERA ELITE II OTV |  |  |  | POAG-MODULE |  |  | SPY Portable Handheld Imager
3D Camera System |  |  | 3D FULL HD CAMERA CONTROL UNIT CF | 3DHD |  | MULTIFUNCTION VIDEOSYSTEM, CU30-TFT/USBPAL, WITHOUT OBJECTIV | IMAGE1 S CONNECT II | VISERA ELITE II OTV-S300 PROCESSOR |  |  |  | EPIC 3DHD CAMERA SYSTEM
|  |  | EV3.0 |  |  |  | TIPCAM |  |  |  |  | 3D-ENDOSCOPE BNDL
Arthroscope | FX II MINI-Scope | Arthroscope 30° |  | 3DHD DUAL CHANNEL STANDARD | HD Endoscope dia. 3mm, d.o.v. 0 | ARTHROSCOPE/SINUSCOPE 2,4MM D. 0° | HOPKINS Telescope 30° | 4K ULTRA ARTHROSCOPE 4MM 0DEG | 30 Deg 4mm Arthroscope | 4K/UHD Arthroscope 4mm, 0° | UHD 4k Arthroscope | TELESCOPE 45° Ø 4MM SL 170MM | 0 Degree 2.7mm Diameter 187mm Length Storz fitting HD | I - Direct View A/C Long 2.7mm | HD 2.7MM X 0DEGSTUBBY ARTHROSCOPE JLOCK AC
|  | Arthroscope 70° |  | HD 4MM QUICKLATCH | HD Endoscope dia. 3mm, d.o.v. 30° | ARTHROSCOPE/SINUSCOPE 2,4MM D. 30° | HOPKINS Forward-Oblique Telescope 30° | 4K ULTRA ARTHROSCOPE 4MM 70DEG |  | 4K/UHD Arthroscope 4mm, 30° | Arthroscope, 2mm | TELESCOPE 0° Ø 4MM SL 170MM | 30 Degree 2.7mm Diameter 187mm Length Storz fitting HD | Arthroscope ACLV 2.7 x 30 D Short | HD 2.7MM 30DEG STUBBY ARTHROSCOPE JLOCK AC
|  |  |  | ODEG EYECUP | HD Endoscope dia. 3mm, d.o.v. 45° |  | ENDOCAMELEON ARTHRO HOPKINS Telescope | A70960A 2.7MM 0 DEGREE TELESCOPE |  | 4K/UHD Arthroscope 4mm, 45° |  | Discoscope 25°,WCh 4.1mm, WL 165mm | 30 Degree 2.7mm Diameter 141mm Length Storz fitting HD | VAS HD AC 4mm Outer Diameter x 70 Deg | HD 1.9MM 0 DEG ARTHROSCOPE JLOCK AC
[5 empty] | HD Endoscope dia. 3mm, d.o.v. 70° |  | HOPKINS Telescope 0° | 4K ULTRA ARTHROSCOPE 4MM 30DEG |  | 4K/UHD Arthroscope 4mm, 70° |  | Discoscope Set | 30 Degree 2.7 Diameter 213 mm Length Storz fitting HD | 4KO VIDEO ARTHRSCP | 2.7MM 30 DEG ARTHROSCOPE STUBBY WITH SPEEDLOCK
Laparoscope | FX II HD-Scope | Laparoscope, 4K, 0° |  | 10MM, 0 DEGREE UHD AUTOCLAVABLE EYECUP LAPAROSCOPE | Endoscope dia. 2.7 mm, 0° | LAPAROSCOPE 5MM D., 0°, | HOPKINS Telescope 0° | 10MM 30 DEGREE ULTRA TELESCOPE | 0 Deg 10mm Laparoscope | VS3 IR ENDOSCOPE 153-0051 | UHD 4k Laparoscope, 10mm x 344 mm length, view. dir. 0° | TELESCOPE 0° Ø 5.3MM WL 303MM | 45 degree 10mm Diameter 344mm Length HD | 4KO LAPAROSCOPE AC 5.5 DEGREE X0X300MM | PRECISION Laparoscope 5.5mm 30 DEG 45cm
|  | Laparoscope, 4K, 30° |  | 10MM, 30 DEGREE UHD AUTOCLAVABLE EYECUP LAPAROSCOPE | HD Endoscope dia. 2,9 mm, 12° | LAPAROSCOPE 5MM D., 45° | HOPKINS Telescope 0°, NIR/ICG | 10MM 45 DEGREE ULTRA TELESCOPE |  | 11.0031A 10X344MM 0DEG FX II HDSCOPEWDE | UHD 4k Laparoscope, 10mm x 344 mm length, view. dir. 30°, wide angle | TELESCOPE 30° Ø 10MM WL 305MM | 30 Degree 10mm Diameter 344mm Length HD | 4KO LAPAROSCOPE AC 5.5DEGREE X30X300MM | AIM Laparoscope 5mm 0 degree with Safelight adapter
|  | Laparoscope, 4K, 45° |  | 5.5MM, 0 DEGREE UHD AUTOCLAVABLE EYECUP LAPAROSCOPE | HD Endoscope dia. 2.9mm, d.o.v. 30° | LAPAROSCOPE 5MM D., 30° | ENDOCAMELEON HOPKINS Telescope | 5MM 0 DEGREE ULTRA TELESCOPE |  | 11.0041A 10X344MM 45DEG FXII HD-SCOPE | UHD 4k Laparoscope, 5mm x 312 mm length, view. dir. 30°, wide angle | TELESCOPE 0° Ø 2MM WL 268MM | 0 Degree 6.5mm Diameter 336mm Length HD | 4KO LAPAROSCOPE AC 5.5DEGREE X45X300MM | Fluorescence Imaging Laparoscope 10mm 33cm 30 DEG
|  |  |  | 5.5MM, 30 DEGREE UHD AUTOCLAVABLE EYECUP LAPAROSCOPE | Ultra Endoscope 4K dia. 10mm, d.o.v. 30° | TEKNO LAPAROSCOPE | HOPKINS RUBINA 45°, NIR/ICG | 5MM 30 DEGREE ULTRA TELESCOPE |  | 8300053462 4KUHD LAPAROSCOPE 5.5MM 0 | UHD 4K Laparoscope Ø 5,0mm, Bariatric, 30° viewing angle, 450mm |  | 30 Degree 6.5mm Diameter 336mm Length HD | 4KO BARIATRIC LAPRSCP AC 5.5DEGREX0X424M | Fluorescence Imaging Laparoscope 5mm 33cm 45 DEG
|  |  |  | 5.5MM, 45 DEGREE UHD AUTOCLAVABLE EYECUP LAPAROSCOPE | Ultra Endoscope 4K dia. 10mm, d.o.v. 0°, | MINI LAPAROSCOPE 3MM | HOPKINS Telescope 30° | 5MM 45 DEGREE ULTRA TELESCOPE |  | 8300053463 4KUHD LAPAROSCOPE 5.5MM 30 | UHD 4K Laparoscope Ø 10,0mm, Bariatric, 30° viewing angle, 500mm |  | 0 Degree 5mm Diameter 312mm Length HD | 4KO LAPAROSCOPE AC 10X0X330MM | AIM Laparoscope 5mm 0 degree with Safelight adapter
Instruments |  |  | DUROGRIP |  |  |  | C-MAC S Video Laryngoscope BLADE |  | Surgiassist Scope Holder |  | Cysto-Urethroscope sheath |  |  |  | Laparoscopy Instru. Sterilization Tray