## Sheet1
X-Ray Static
Product Matrix
Issued 8th May 2025
Product information and supplier names are correct at the time of publication.
Specification | Agfa | Celtic | EOS Imaging | Fuji | GE | HSL | Medray | MI Healthcare | MIS | Philips | Siemens | Wolverson | Xograph
Digital Vertical Radiographic X-Ray System with Detector | DR 600 | Amadeo S-DR | EOSedge |  | Definium 646HD Light (WS Only) | Shimadzu RADspeed Pro Auto type with Vieworks Flat panel detector, no table | DRX Evolution Plus Wall Stand System 35x43 Detector | CAMARGUE EZ DXV | Samsung Imaging Solution FMT18 Wallstand 1 Detector | DigitalDiagnost C90 Chest | Multix Impact Chest Room 11333888 | VISION U DIGITAL VERTICAL FLOOR MOUNTED | Intuition WS Direct Digital Auto-tracking General Radiography System 702C
| DXD 300 | Amadeo Z-DR |  |  | Definium 656HD (WS Only) | Shimadzu RADspeed Pro Auto type with Canon Flat panel detector, no table | DRX Compass OTC with wall stand 3543 |  | Samsung Imaging Solution OTC18 Wallstand 1 Detector | DR 7300 plus Chest | Multix Impact C Chest Room 11020896 |  | Precision i5 WS Direct Digital Auto-tracking General Radiography System 702C
| Valory |  |  |  | Definium XR/F (WS Only) | Shimadzu RADspeed Pro Auto type with Konica Flat panel detector, no table | DRX Compass FM with wall stand 3543 |  | GC85 AccE Wallstand 1 Detector |  | Ysio MAX Chest Room 10762470
[5 empty] | Definium Tempo Pro (WS Only) |  | DRX Compass Wall stand System with 43x43 Focus detector |  | GC85 FIT 1 Detector |  | Ysio X.pree Chest Room 11107464
[5 empty] | Definium Tempo Plus (WS Only) |  | DRX Compass Floor Mount system with wallstand 4343 Focus detector |  | GF85 Floor mounted X-Ray System 1 Detector with Table
GF85 Floor mounted X-Ray System 1 Detector
Digital Radiographic Table X-Ray System with Detector | DR 600 |  |  |  | Definium 646HD Light (Table Only) | Shimadzu RADspeed Pro Auto type with Vieworks Flat panel detector, no wall stand | DRX Evolution Plus Table System 35x43 Detector | CAMARGUE EZ DXT | Samsung Imaging Solution FMT18 Table Bucky 1 Detector |  |  |  | Intuition Table Direct Digital Auto-tracking General Radiography System 702C
| DR 400 |  |  |  | Definium 656HD (Table Only) | Shimadzu RADspeed Pro Auto type with Caon Flat panel detector, no wall stand | DRX Compass OTC Table 3543 |  | Samsung Imaging Solution OTC18 Table Bucky 1 Detector |  |  |  | Precision i5 Table Direct Digital Auto-tracking General Radiography System 702C
| Valory |  |  |  | Definium Tempo Pro (Table Only) | Shimadzu RADspeed Pro Auto type with Konica Flat panel detector, no wall stand | DRX Compass FM table 3543 |  | GC85 AccE Table Bucky 1 Detector
Definium Tempo Plus (Table Only)
Definium XR/F (Table Only)
Universal Digital Radiographic X-Ray System with One Detector | DR 600 | Amadeo R-DR - XenOR |  | FDR Smart X Premium Floor | Definium 646HD Light (One Detector) | Shimadzu RADspeed Pro Auto type with Vieworks Flat panel detector with tilting wall stand | DRX Evolution Plus Dual Bucky Single Detector 3543 | CAMARGUE EZ DX | GC85 AccE 1 Detector | DigitalDiagnost C90 Value | Multix Impact Floor Mounted 11333888 | ARCO DIGITAL TABLE | Intuition 702C Direct Digital Auto-tracking General Radiography System
| DR 400 | Amadeo R-DR motorised - Varex |  | FDR Visionary Suite Chest Room C43A | Definium 656HD (One Detector) | Shimadzu RADspeed Pro Auto type with Canon Flat panel detector with tilting wall stand | DRX Compass OTC Dual Bucky single detector 3543 |  | Samsung Imaging Solution OTC18 1 Detector | DigitalDiagnost C90 Flex | Multix Impact C 11020896 | ARCO DIGITAL NO TABLE | Precision i5 702C Direct Digital Auto-tracking General Radiography System
| Valory | Amadeo C-DR - XenOR |  |  | Definium XR/F (One Detector) | Shimadzu RADspeed Pro Auto type with Konica Flat panel detector with tilting wall stand | DRX Compass FM dual bucky single detector 3543 |  | Samsung Imaging Solution FMT18 1 Detector | DigitalDiagnost C50 Value | Ysio MAX 10762470 | ARCO DIGITAL RAD
| Valory Floor Mounted System - Wall Stand Only |  |  |  | Definium Tempo Pro (One Detector) | NRT Adora DRi system with fixed Canon detector |  |  | GC85 FIT 1 Detector | DigitalDiagnost C90 Value E | Ysio X.pree 11107464 | KALOS SYSTEM CANON
[5 empty] | Definium Tempo Plus (One Detector) | Konica Minolta Aero DRX70 with 1417HD detector |  |  |  |  | Multitom RAX 10860700 | PROTEC FLOOR MOUNTED X RAY SYSTEM DIGITAL FIXED DETECTOR
PROTEC FLOOR MOUNTED X RAY SYSTEM DIGITAL WIRELESS DETECTOR
Universal Digital Radiographic X-Ray System with Two Detector | DR 600 | Amadeo R-DR - XenOR |  | FDR Visionary Suite 3 Panel D2 C35 | Definium 646HD Light (Two Detectors) | Shimadzu RADspeed Pro Auto type with Canon Flat panel detectors X 2 | DRX Evolution Plus Dual Bucky dual Detector 3543 x2 | CAMARGUE 2EZ DX | GC85 AccE 2 Detectors | DigitalDiagnost C90 HP Wireless | Multix Impact Floor Mounted – 2 detector 11333888 | KALOS SYSTEM CANON | Precision i5 DR General Radiography System 702-402
| DR 400 | Amadeo R-DR motorised - Dual detector version (Varex - 2x fixed) |  | FDR Visionary Suite 3 Panel D2 C24 | Definium XR/F (Two Detectors) | Shimadzu RADspeed Pro Auto type with Konica Flat panel detectors X 2 | DRX Conpass OTC dual bucky dual detector 3543 x2 |  | Samsung Imaging Solution OTC18 2 Detector | DigitalDiagnost C90 High Performance | Multix Impact C - 2 detector 11020896 | ARCO INTUITION
|  | Amadeo R-DR motorised - Dual detector version (Varex - mixed) |  | FDR Visionary Suite 2 Panel C35 ADVC43 | Definium 656HD (Two Detectors) | Shimadzu RADspeed Pro Auto type with Vieworks 1 fixed and 1 wireless detector | DRX Compass FM dual bucky dual detector 3543 x 2 |  | Samsung imaging Solution FMT18 2 Detector | DuraDiagnost 4.1 HP Efficiency | Ysio Max - 2 detector 10762470
|  | Amadeo C-DR - XenOR |  | FDR Smart X Ceiling Premium | Definium Tempo Pro (Two Detectors) | Shimadzu RADspeed Pro Auto type withCanon 1 fixed and 1 wireless detector | DRX Compass OTC Dual Bucky dual 4343 Focus detector |  | GC85 FIT 2 Detectors | DigitalDiagnost C50 HP Wireless | Ysio X.pree - 2 detector 11107464
|  |  |  | FDR Smart X Ceiling Ortho | Definium Tempo Plus (Two Detectors) | Konica Minolta AeroDR X60 with 2 detectors |  |  |  | DigitalDiagnost C90 HPW Lite
|  |  |  | FDR Smart X Ceiling Premium Stitching |  | Konica Minolta AeroDR X90 with 2 detectors |  |  |  | 7300C Plus
|  |  |  | FDR Smart X Premium Ceiling 2x D-EVO ES C35 |  | Konica Minolta AeroDR X70 with 2 detectors |  |  |  | 7300C Plus Wireless
[6 empty] | Konica Minolta AeroDR X70 with 2 detectors |  |  |  | 7300C Pro Wireless
General Purpose Analogue Radiographic X-Ray System | DR 600 |  |  |  |  | Shimadzu RADspeed Pro Auto type with no detector | DRX Compass analogue OTC system | CAMARGUE CRX | GC85 AccE No Detector |  |  | ARCO BUCKY RAD | Intuition Analogue General Radiography System with Table & Wall stand,
| DR 400 | [5 empty] | DRX Compass analogue Floor Mount System |  | Samsung Imaging Solution OTC18 No Detector |  |  | PROTEC FLOOR MOUNTED X RAY SYSTEM ANALOG
Samsung Imaging Solution FMT18 No Detector
Digital Vertical Radiographic X-Ray System - No Detector | DR 600 |  |  |  | Definium 646HD Light (No Detector - WS Only) | Shimadzu RADspeed Pro Auto type chest room with no detector | DRX Evolution Plus Wall Stand System | CAMARGUE DXV | GC85 AccE Wallstand No Detector |  |  |  | Intuition X-ray system with vertical chest stand only
| DXD 300 |  |  |  | Definium 656HD (No Detector - WS Only) |  | DRX Compass OTC with wall stand |  | Samsung Imaging Solution OTC18 Wallstand No Detector |  |  |  | Precision i5 X-ray system with vertical chest stand only
[5 empty] | Definium Tempo Pro (No Detector WS Only) |  | DRX Compass FM with wall stand |  | Samsung Imaging Solution FMT18 Wallstand No Detector
Definium Tempo Plus (No Detector WS Only)
Definium XR/F (No Detector - WS Only)
Digital Radiographic Table X-Ray System - No Detector | DR 600 |  |  |  | Definium 646HD Light (No Detector - Table Only) | Shimadzu RADspeed Pro Auto type table only with no detector | DRX Evolution Plus Table System | CAMARGUE DXT | GC85 AccE Table Bucky No Detector |  |  |  | Intuition X-ray system with table only
| DR 400 |  |  |  | Definium 656HD (No Detector - Table Only) |  | DRX Compass OTC with Table |  | Samsung Imaging Solution OTC18 Table Bucky No Detector |  |  |  | Precision i5 X-ray system with table only
[5 empty] | Definium XR/F (No Detector - Table Only) |  | DRX Compass FM with Table |  | Samsung Imaging Solution FMT18 Table Bucky No Detector
Definium Tempo Pro (No Detector Table Only)
Definium Tempo Plus (No Detector Table Only)
Universal Digital Radiographic X-Ray System - No Detector | DR 600 |  |  |  | Definium 646HD Light (No Detector) | Shimadzu RADspeed Pro Auto type with no detectors | DRX Evolution Plus Dual Bucky | CAMARGUE DX | GC85 AccE No Detector |  |  |  | Intuition X-ray System No detector
| DR 400 |  |  |  | Definium 656HD (No Detector) |  | DRX Conpass OTC dual bucky |  | Samsung Imaging Solution OTC18 No Detector |  |  |  | Precision i5 X-ray System No Detector
[5 empty] | Definium Tempo Pro (No Detector) |  | DRX Compass FM dual bucky |  | Samsung Imaging Solution FMT18 No Detector
Definium Tempo Plus (No Detector)
Definium XR/F (No Detector)