## SOR CT
Computerised Tomography (CT)
Statement of Requirements
Yes
NHS Supply Chain Buyer Contact | Chris Simpson |  |  | No |  |  |  | 2
Email | christopher.simpson@supplychain.nhs.uk |  |  | No |  |  |  | 3
Telephone Number | 07764 975 983 | [6 empty] | 4
NHS Supply Chain Assistant Buyer Contact | Melissa Wagstaff
Email | melissa.wagstaff@supplychain.nhs.uk
Telephone Number | 07974 614 836
[7 empty] | General CT | 5
Trust to Complete (these details will be shared with suppliers) | [6 empty] | Advanced CT scanner
Hospital Site | [5 empty] | Yes | Premium CT Scanner
Department/s | [5 empty] | No | Wide bore CT scanner for radiotherapy simulation
Project Lead: Name and Email | [5 empty] | Costed Option | Mobile CT scanner for whole body studies
Procurement Contact: Name and Email | [6 empty] | Mobile CT scanner for head and neck studies
Expected Order Date (DD/MM/YY)
New
General Imaging CT Specification Schedule |  | Trust to Complete |  | Supplier to Complete |  |  | Replacement | Yes
|  | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise |  |  | No
1. Core System | Core system required |  |  |  |  | 1 |  | Future Requirement
| Quantity of systems required |  |  |  |  | 2 |  | Essential
| Is this a new system or a replacement? |  |  |  |  | 3 |  | Desirable
| If replacement - please specify if you have a current system to trade in? If so further information will be required. |  |  |  |  | 4 |  | Desirable
2. CT Acquisition Requirements | Please indicate whether the following is required: |  |  |  |  | 5
Acute Stroke Imaging
Biopsies/Interventional procedures under CT guidance
Cardiac
Dose minimisation software
General Body Imaging
High Resolution Skull and Face Imaging
Metal artefact suppression
Multi Organ CT Angio
Neuro Perfusion
Neurovascular Head and Neck Imaging
Paediatrics
Single Organ CT Angio
Standard Head Imaging
Trauma and Bone Imaging
Photon counting detector
If any others are required please list below: (add additional lines as required)
3. Post Processing Requirements | Please indicate whether the following is required: | [6 empty] | Desirable
Do you require an advanced processing solution from the OEM?
If yes to the above, do you require this to be a networked/web based thin client solution?
Do you require intraoperability of this advanced processing solution with you PACS system? e.g. Desktop integration
What specific advanced processing requirements do you need:
General | Body Perfusion
Dental
Dual Energy Analysis
Functional Lung Imaging
Trauma
Cardiac | Angiography | [6 empty] | Not Required
Calcium Scoring
Cardiac Functional Analysis
Cardiac Perfusion
Coronary Vessel Analysis
TAVR/TAVI
Neuro | Neuro DSA
Neuro Perfusion
Oncology | Colon CAD
Colon Cleansing
Colonography
Liver Analysis/Segmentation
Lung Analysis
Lung CAD
Lung Nodule Analysis
Lung Perfusion
Multi-Modality Tumour Tracking
Pulmonary Viewer
Radiotherapy Planning
Vessel Analysis
Please add additional lines as required for any other areas.
4. Additional Requirements | Please indicate whether the following is required:
Bariatric Couch
CCTV
CO2 Insufflator
Contrast Injector
Iterative reconstruction
Lasers
Paediatric accessories
Radiotherapy Table top
Respiratory Gating
What Phantoms do you require, if any?
If any others are required please list below: (add additional lines as required)
5. Connectivity / Storage Requirements | What PACS will the system be connected to?
Scheduled (Acquisition) workflow
Post processing workflow
Patient information reconciliation
Consistent presentation of images
What PACS will the system be connected to?
What DICOM classes do you require:
DICOM HIS/RIS Interface
DICOM Modality Worklist Management (MWM)
DICOM Query/Retrieve SCU
DICOM Query/Retrieve SCP
DICOM Storage SCP
DICOM Storage Commitment
DICOM Presentation of Grouped Procedures (PGP)
Modality Perform Procedure Step (MPPS)
If any others are required please list below: (add additional lines as required)
6. Turnkey solution | Is a turnkey solution required?
If a turnkey solution required, please detail relevant point of contact:
Is the area already in existence as a CT Suite?
Do you have available plans, room data sheets of proposed CT area?
7. Supplier Presentation / Site Visits | Do you require supplier contact details to organise trials/presentations?
8. Leasing | Would you like indicative equipment lease costs for your project? Please note the project value will have to be in excess of £20,000 Ex VAT.
9. Other Relevant Key Information Required
(Add additional lines as required)