## SOR DEXA
NHS Supply Chain Buyer Contact | Iwona Doniec
Email | womenshealth@supplychain.nhs.uk
Statement of Requirements - Bone Densitometer
This information will be shared with suppliers
Hospital site
Department/s
Clinical Contact
Email
Telephone Number
Procurement Contact
Email
Telephone Number
Project Lead (if differs from above)
Email
Telephone Number
Quantity Required
Expected Order Date (DD/MM/YY)
Expected Delivery Date (DD/MM/YY)
Specification Schedule |  | Specification 1 |  |  |  | Specification 2 |  |  |  | Specification 3 |  |  |  | Specification 4
Criteria 1 Core System | Requirement | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete
|  | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Is the system required for full body, regional or perhiperal scanning?
Do you require a mechanical table?
Do you require the system to be capable of scanning adults/paediatrics/both?
How many systems required?
Criteria 2 Care Area | Requirement | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete
|  | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
What clinical speciality is the system required for?
Whay is the % of total time the system can be expected to be used in this field?
Do you have any height or size limitations in the room the system will situated?
Do you have any specific infection control requirements?
Do you require the system to continue to function at a specific temperate range?
Is the room air-conditioned?
Criteria 3 Options | Requirement | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete
|  | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Do you require DICOM functionality?
Do you need to bring DICOM volume data sets from MRI, CT or US on to the system display ?
Do you require any positioning aids?
Do you require CAD sofware for assessment?
Do you require the systems to complete any specific measurements?
Do you require the system to provide reporting in any format?
Do you require the system to import data from another system? If YES please state system
Do you require reporting on body composition?
Do you require remote servicing to be included?
Criteria 4 Peripherals | Requirement | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete
|  | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Do you require a colour printer?
Do you require an additional workstation?
Do you require any additional monitors?
Criteria 5 Trade ins/upgrades | Requirement | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete
|  | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Do you have a current system to trade in? If YES, which?
Do you need to move existing scanners/workstations to current software revision?
Would you consider purchasing ex-demonstration equipment?
Criteria 6 Other Relevant Key Information Required | Requirement | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete
|  | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Please provide details:
Please provide details:
Please provide details:
Please provide details:
Please provide details:
Please provide details:

## Drop Lists (hidden)
Yes | 1
No | 2
3
Essential | 4
Desirable | 5
Not required | 6
7
Additional | 8
Replacement
Ceiling
Floor
Fluoroscopy
Radiography
Full Body
Regional
Perhiperal
Adults
Paediatrics
Both