## Guidance Notes
Angiography Buying Guide
Diagnostic Equipment and Services
Statement of Requirement - Angiography and Hybrid Theatre Equipment and Related Services
SOR Document ¦ Guidance Notes
This document is provided by NHS Supply Chain for guidance purposes for trusts who wish to acquire pricing for product awarded under the Framework. It may be adapted based on specific requirements, but should include at a minimum the following information.
The Customer is required to complete the Customer SOR which details Product and Clinical Requirement, Warranty, Maintenance and any training requirements in order for NHS Supply to request awarded suppliers to offer a suitable product and pricing detail.
When completing the customer SOR the customer should confirm that they have engaged with all the below stakeholders:
Drop Downs
Clinical Leads
Radiologists
Electrical and Biomedical Engineering teams
IT
Finance
Estates
MPE / RPA
Next Steps:
Please be advised we will give suppliers 10 working days to then complete the below unless otherwise agreed.
Customer SOR, suppliers will be able to give commentary on the sections you have completed to explain areas of their quotations.
Supplier Response, will include further detail on aspects trusts may wish to consider when looking at placing an order with a specific supplier.
Maintenance, where the customer has specified a maintained requirement the supplier should provide further detail of what this includes and details of pricing.
trusts should ensure that all their requirements are detailed as clearly as possible, so suppliers can price accordingly.
In addition to this Excel document, the following documents should also form part of the framework call off pack:
Call-Off Terms and Conditions provided by NHS Supply Chain.
URN provided by NHS Supply Chain when requested by the customer.
A Copy of the Purchase Order should be provided by the customer once the PO has been raised.

## Framework Details
Angiography Buying Guide
Diagnostic, Pathology and Therapy Technologies and Services
Statement of Requirement - Angiography and Hybrid Theatre Equipment and Related Services
This table is correct as of the time of publication but is subject to change through the range management process.
For further information see Angiography product matrix.
Framework Details ¦ Awarded Suppliers
Supplier | Lot 1 |  |  |  |  | Lot 2
| Single Plane, Flat Panel Detector Vascular Angiography Imaging System | Single Plane, Flat Panel Detector Cardiac Angiography Imaging System | Bi-Plane, Flat Panel Detector Cardiac Angiography Imaging System | Bi-Plane, Flat Panel Detector Neuro-Angiography Imaging System | Cardiac Catheterisation, Physiological Monitoring System | Angiography Managed Service | Mobile Cardiac Catheterisation Unit | Outsourcing of Angiography and Cardiac Catheterisation Laboratory Services
Ergea UK & Ireland Ltd | [5 empty] | X
Canon Medical Systems | X | X | X | X | X
GE Medical Systems Ltd | X | X | X | X | X | X
InHealth | [5 empty] | X | X
Medecon Healthcare | [5 empty] | X | X | X
Medtronic Ltd | [5 empty] | X |  | X
Philips Electronics UK Ltd | X | X | X | X | X | X | X | X
Siemens Healthcare Ltd | X | X | X | X | X | X | X

## Customer SOR
Angiography Buying Guide
Diagnostic, Pathology and Therapy Technologies and Services
Statement of Requirement - Angiography and Hybrid Theatre Equipment and Related Services
Customer Requirement¦ Guidance Notes
This information will be shared with suppliers
Please use Dropdown provided where applicable
NHS organisation
Hospital / site name
Address of hospital / site
Department where the Imaging equipment will be sited
Please state if the system required is an additional requirement or a replacement
If replacement please confirm existing brand and model/s installed
If replacement do you require the supplier to quote for disposal of the existing Imaging Equipment
Quantity of systems required
Primary contact name
Job title
Contact number
Contact Email Address
Secondary Contact Name
Job Title
Contact number
Contact email address
Please list any other stakeholders who should be involved in this project
Has funding been approved |  | Current lead times:
Expected order date
Have you already received quotes from suppliers? |  | Offer dates:
Who should be contacted for site survey and presentations? The site survey will be to establish the room enablement requirements, infrastructure and connectivity
Are you aware of any turnkey / enabling works that may need to be carried out?
Unit Specification |  | Specification 1 |  |  |  | Specification 2 |  |  |  | Specification 3 |  |  |  | Specification 4
|  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete |  | Trust to Complete |  | Supplier to Complete
Criteria 1 Core System | Requirement | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Core specification required?
| How many systems required? | Insert number here |  |  |  | Insert Number Here |  |  |  | Insert number here |  |  |  | Insert number here
Do you require floor or ceiling mounted system?
Criteria 2 Imaging Disciplines | Please indicate the type of procedures that are required? | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Cardiac | Diagnostic Studies
Cardiac | Interventional Studies
Cardiac | Paediatric Studies
Cardiac | Electrophysiology
Cardiac | Pacemakers
Neuro | Diagnostic Studies
Neuro | Interventional Studies
Neuro | Paediatric Studies
Radiology / Vascular | Diagnostic Studies
Radiology / Vascular | Interventional Studies
Radiology / Vascular | Paediatric Studies
Radiology / Vascular | Peripheral Angiography
Radiology / Vascular | Biopsy
Radiology / Vascular | Interventional Oncology
Other please list:
Other please list:
Other please list:
Other please list:
Other please list:
Criteria 3 Advanced Imaging | Requirement | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Radiology / Vascular | Rotational Angiography
Radiology / Vascular | 3D Angiography
Radiology / Vascular | Quantitative Vessel Analysis
Radiology / Vascular | 3D Road mapping
Radiology / Vascular | Multi Modality Road mapping
Radiology / Vascular | Multi Modality Fusion
Radiology / Vascular | Soft Tissue Visualisation (CT style imaging)
Radiology / Vascular | Needle Guidance Procedures
Cardiac | Cardiac Quantitative Vessel Analysis
Cardiac | Left Ventricular Analysis
Cardiac | Coronary Stent Visualisation
Cardiac | Stent Planning Coronary or Vascular
Cardiac | TAVR Planning
Other please list:
Other please list:
Other please list:
Other please list:
Other please list:
Criteria 4 Monitors and Viewing Options In Room | Requirement | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Live and Reference
Number of additional monitors required for external video input
Please list additional inputs
1
2
3
4
Large Display in place of above separate monitors
Additional monitor for Radiographers
Criteria 5 Table Options | Requirement | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Non tilting table
Tilting Table (Trendelenberg)
Surgical Table
Criteria 6 Dose Management | Requirement | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Real Time Patient Dose Monitoring
Real Time Staff Dose Monitoring
Criteria 7 Injector | Requirement | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Pedestal
Table Mounted
Ceiling Mounted
Criteria 8 Accessories | Requirement | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
UPS - Image System
UPS - System Movement
UPS - Fluoroscopy
UPS - Acquisition
Haemodynamic Cardiac Monitoring
Haemodynamic Vascular (vital signs) Monitoring
Integrated Ultrasound (supplier to provide separate quote)
Please list any other relevent accessories here
Please list any other relevent accessories here
Please list any other relevent accessories here
Please list any other relevent accessories here
Please list any other relevent accessories here
Criteria 9 Turnkey Solution | Requirement | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Is a turnkey solution required?
If so please details of relevant person for suppliers to contact to discuss:-
Is the area already in existence used as a Angio / Fluoroscopy Suite or Radiography Suite?
Do you have available plans, room data sheets of proposed Suite area?
Criteria 10 Supplier Presentation / Site Visits | Requirement | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Do you require supplier contact details to organise site visits / presentations?
Criteria 11 Trade - Ins / Upgrades | Requirement | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Do you have a current system to trade in?
Please provide details:
Criteria 12 Other Relevant Key Information Required | Requirement | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise | Trust Confirm Criteria | Trust Comments | Quote Meets Specification? | If no, please advise
Please provide further details here
Please provide further details here
Please provide further details here
Please provide further details here
Please provide further details here
Please provide further details here

## Supplier Response
Angiography Buying Guide
Diagnostic, Pathology and Therapy Technologies and Services
Statement of Requirement - Angiography and Hybrid Theatre Equipment and Related Services
Supplier Response¦ Guidance Notes
Supplier Name
Supplier Contact
Contact Number
GSI UK ID:
The PTOS will be added here by NHS Supply Chain based on the core item you have added into the Supply Quotation Tab
This will include details of the following elements:
Core Product Specification
Maintenance
Warranty
PPQ
Technical Specifications
Training Requirements and Offerings, both clinical and technical
IT Connectivity
Reference Sites
Embed File here:
Note to suppliers: There are generic files that have been creasted by NHS Supply Chain based on your tender submissions and specifcation information you have previously provided, if any specifications or information is due to change please inform the Category Manager so we can make these amends.

## Pricing - Customer Quotation
Angiography Buying Guide
Diagnostic, Pathology and Therapy Technologies and Services
Statement of Requirement - Angiography and Hybrid Theatre Equipment and Related Services
Supplier Pricing ¦ Customer Quotation
Modality: | Insert
Supplier | Insert
NHS Trust | Insert
Date: | Insert
Quote Valid To: | Insert
Supplier Quotation Reference: | Insert
NHS Supply Chain Case ID | Insert
Core Spec | System Name | Product Code | Quantity | Warranty (Years) | Framework Price
| Additional Item | Product Code | Quantity | Framework Price | Offer Price
|  |  |  | Framework Options Cost | 0
|  |  |  | Offer Price | 0
Framework Total Price (Ex. VAT) | Offer Total Price (Ex. VAT) | Savings (Ex. VAT)
0 | 0 | 0
Optional Items Not Included in Total Price (Indicative Cost)
Additional Item | Product Code | Framework Price

## POS Maintenance
Angiography Buying Guide
Diagnostic, Pathology and Therapy Technologies and Services
Point of Sale Maintenance
To take up the point of sale maintenance offer on this equipment please contact the supplier and sign final service contract proposal within 45 days.
Point of Sale Equipment Maintenance
Indexation Used for Indicative Lifetime Cost
Maintenance Costs (5 years) | Price for Full Payment Upfront | Price Per Annum paid Annually in Advance (Subject to Indexation)
First Line In House (ex Tube and Detector)
Indicative Lifetime Cost
First Line In House Fully Comprehensive (inc Tube)
Indicative Lifetime Cost
First Line In House Fully Comprehensive (inc Detector)
Indicative Lifetime Cost
First Line In House Fully Comprehensive (inc Tube and Detector)
Indicative Lifetime Cost
Planned Preventative
Indicative Lifetime Cost
Fully Comprehensive (ex Tube and Detector)
Indicative Lifetime Cost
Fully Comprehensive (inc Tube)
Indicative Lifetime Cost
Fully Comprehensive (inc Detector)
Indicative Lifetime Cost
Fully Comprehensive (inc Tube and Detector)
Indicative Lifetime Cost
Maintenance Costs (7 years) | Price for Full Payment Upfront | Price Per Annum paid Annually in Advance (Subject to Indexation)
First Line In House (ex Tube and Detector)
Indicative Lifetime Cost
First Line In House Fully Comprehensive (inc Tube)
Indicative Lifetime Cost
First Line In House Fully Comprehensive (inc Detector)
Indicative Lifetime Cost
First Line In House Fully Comprehensive (inc Tube and Detector)
Indicative Lifetime Cost
Planned Preventative
Indicative Lifetime Cost
Fully Comprehensive (ex Tube and Detector)
Indicative Lifetime Cost
Fully Comprehensive (inc Tube)
Indicative Lifetime Cost
Fully Comprehensive (inc Detector)
Indicative Lifetime Cost
Fully Comprehensive (inc Tube and Detector)
Indicative Lifetime Cost
Maintenance Costs (10 years) | Price for Full Payment Upfront | Price Per Annum paid Annually in Advance (Subject to Indexation)
First Line In House (ex Tube and Detector)
Indicative Lifetime Cost
First Line In House Fully Comprehensive (inc Tube)
Indicative Lifetime Cost
First Line In House Fully Comprehensive (inc Detector)
Indicative Lifetime Cost
First Line In House Fully Comprehensive (inc Tube and Detector)
Indicative Lifetime Cost
Planned Preventative
Indicative Lifetime Cost
Fully Comprehensive (ex Tube and Detector)
Indicative Lifetime Cost
Fully Comprehensive (inc Tube)
Indicative Lifetime Cost
Fully Comprehensive (inc Detector)
Indicative Lifetime Cost
Fully Comprehensive (inc Tube and Detector)
Indicative Lifetime Cost
Optional Items Not Included in Total Maintenance Prices (Indicative Annual Cost)
Notes:

## Additional Info
Angiography Buying Guide
Angiography Buying Guide
Diagnostic, Pathology and Therapy Technologies and Services
Statement of Requirement - Angiography and Hybrid Theatre Equipment and Related Services
Any Other Additional Info ¦ From Customer | Any Other Additional Info ¦ From Supplier
Embed files here or give detail | Embed files here or give detail

## Film Questions (hidden)
FILM QUESTIONS:
Primary Functions Required: | RESPONSE | COMMENTS
Paediatric
Adult
TMJ
Sinus
Other (please state)
| RESPONSE | COMMENTS
Will you be using Storage Phosphor (CR) Plates or X-ray Film Processing?

## Digital Questions (hidden)
DIGITAL QUESTIONS:
| RESPONSE | COMMENTS
2D/3D
Control & Viewing Workstation: | RESPONSE | COMMENTS
Do you require the chosen supplier to include the control computer workstation (User-interface and viewing display?)
Do you require the chosen supplier to supply only the image acqusition software? (you will supply the suitable computer hardware and viewing display)
DICOM: | RESPONSE | COMMENTS
Do you require DICOM 3.0 conformance and enablement to allow the system to be connected to PACS?

## Intra-Oral (hidden)
INTRA-ORAL QUESTIONS:
| Response | Comments
Mounting Options
Primary Functions Required | Response | Comments
Bitewings
PA's
Occlusal (Size 4)
Endo
Digital or Film

## OPG Pan-Oral (hidden)
OPG QUESTIONS:
Floor to bite distance required | RESPONSE | COMMENTS
Min (cm)
Max (cm)
2D or 3D

## CEPH (hidden)
CEPH QUESTIONS:
| Response | Comments
Digital or Film
4 -Film: Are you using Storage Phosphor Plates or Film Processing?
Digital: Scanning or Single shot?
Digital: Fixed or Interchangeable sensors?
Side of Ceph?
kV Required | RESPONSE | COMMENTS
Min (Please state in comments)
Max (Please state in comments)
mA Required | RESPONSE | COMMENTS
Min (Please state in comments)
Max (Please state in comments)
Primary Function Required | RESPONSE | COMMENTS
Adult
Paediatric
List Further Specialist Requirments

## Data (hidden)
Yes | Primary Contact | Single Plane, Flat Panel General Angiography Imaging System | Ceiling | Essential
No | Secondary Contact | Bi-Plane, Flat Panel Neuro-Angiography System | Floor | Desirable
|  | Single Plane, Flat Panel Cardiac Angiography Imaging System |  | Not required
Single Plane, Flat Panel Cardiac Angiography Imaging System
Bi-Plane, Flat Panel Cardiac-Angiography System
Cardiac Catheterisation Physiological Monitoring System